# Assessment Requirements for NWPTRT073 Operate and control wastewater sedimentation processes

Release: 1

Assessment Requirements for NWPTRT073 Operate and control wastewater sedimentation processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

performing system calculations

applying procedures and standards

giving and receiving instructions

identifying control system faults and operational problems

using verbal and written communication in the workplace

sampling and testing products

monitoring, operating and reporting on sedimentation processes

conducting routine plant inspections

reporting process and structural faults

performing system adjustments

completing system performance monitoring documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

principles that form the basis of sedimentation processes

system layout

lockout procedures for mechanical and electrical installations

policies, procedures and legislation relating to wastewater treatment

communication systems

risk factors and potential hazards

basic system calculations

equipment operation, capacity and limitations

effects of changes in hydraulic load on sedimentation processes

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037