# NWPTRT082 Operate and control nutrient removal processes

Release: 1

NWPTRT082 Operate and control nutrient removal processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP359B Monitor, operate and control nutrient removal processes. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes Element 1 revised Three new PC added to Elements 1 and 2 Elements 1 and 2 all PC reordered and renumbered PC 2.2, 2.5 and 3.1 removed PC 2.3 revised |

# Application

This unit describes the skills required to operate and control nutrient removal processes to measure and report on system performance and process quality control. The ability to identify faults, determine and apply technical adjustments is essential to performance.

This unit applies to those working as operational staff with a specific responsibility for nutrient removal.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to

Those undertaking this unit would work under supervision, while performing routine tasks within a familiar context.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Treatment

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Plan and prepare for work | 1.1 Determine work requirements from job specifications and plans. 1.2 Select and check equipment required to meet safety requirements of task and site. 1.3 Select, fit and use personal protective equipment. |
| 2. Operate and control processes | 2.1 Carry out routine inspection on assets. 2.2 Collect process samples. 2.3 Carry out routine tests. 2.4 Prepare samples for laboratory testing. 2.5 Identify and report process faults and operational condition of assets. 2.6 Carry out basic process adjustments to enhance process performance. 2.7 Monitor processes to maintain parameters of operation. |
| 3. Complete documentation | 3.1 Collect, record and complete process data. 3.2 Identify data that falls outside normal parameters and report for further action. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Range of Conditions

| Processes include: | chemical nutrient removal biological nutrient removal |
| --- | --- |

# Unit Mapping Information

This unit supersedes and is equivalent to NWP359B Monitor, operate and control nutrient removal processes.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPTRT082 Operate and control nutrient removal processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed in at least one of the processes listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

completing logs

determining chemical dosing requirements

identifying and reporting faults

conducting routine plant inspections

applying basic formulae, including at least one of:

chemical dosing

recycled flows

mixed liquor recycle

taking samples and performing basic tests, including at least one of:

nitrogen

ammonia

nitrate

total nitrogen

ortho-phosphorus

mixed liquor suspended solids

pH

solids analysis

jar testing

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

basic biology and chemistry that applies to the process

nutrient removal principles

relevant hazards and risks factors

chemicals used for pH, nutrient removal

basic hydraulics

# Assessment Conditions

Competency will need to be demonstrated over a period of time reflecting the scope of the role and the practical requirements of the workplace, the evidence collected must relate to a number of performances assessed at different points in time and separated by further learning and practice.

Consideration must be given to holistic assessment for this unit. Refer to advice in the companion volumes.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037