# Assessment Requirements for NWPTRT083 Operate and control aerobic bioreactor processes

Release: 1

Assessment Requirements for NWPTRT083 Operate and control aerobic bioreactor processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and correcting operational and control system problems

taking samples and performing tests:

settling tests

microscopic observation

pH

dissolved oxygen

nutrient analyses, including at least one of:

nitrogen

phosphorus

temperature

completing logs and reports

performing relevant process calculations:

hydraulic and organic loading rates

recirculation ratios

monitoring test results

identifying and reporting faults

conducting routine plant inspections

making basic process adjustments:

pH correction

dissolved oxygen levels

recirculation rates

collecting data and completing required documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

process layout

features and components of fixed film aerobic bioreactor systems

theory of process operation and monitoring

chemicals used for pH control, odour control, nutrients

flow measurement

risk factors and potential hazards relating to fixed film aerobic bioreactor systems

risk control requirements including safety equipment and material safety data sheets

lockout procedures for mechanical and electrical installations and hydraulic isolation

equipment operation, capacity and limitations

relevant utilities and service bodies

process calculation

hazardous materials handling

chemical and biological principles that form the basis of fixed film aerobic wastewater treatment

types of fixed film processes

recirculation principles

operational problems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037