# NWPTRT084 Assess and improve activated sludge and nutrient removal processes

Release: 1

NWPTRT084 Assess and improve activated sludge and nutrient removal processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP412A Investigate and plan the optimisation of activated sludge processes. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes Elements 1 and 2 merged and all PC renumbered Element 3 removed One new Element added PC 4.1 and 4.2 removed PC 4.3 revised |

# Application

This unit describes the skills required to assess, evaluate system performance and investigate and report on the optimisation of activated sludge and nutrient removal treatment processes in maintaining water quality.

This unit applies to those working as technical staff with a specific responsibility for optimising activated sludge and nutrient removal treatment processes.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to.

Those undertaking this unit would work under indirect supervision, performing complex tasks in a familiar context.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Treatment

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Assess process | 1.1 Review existing process performance data. 1.2 Review existing operational processes with reference to manufacturer and plant designer specifications. 1.3 Identify the impact of influent quality on treatment process. 1.4 Identify additional sampling and testing required for valid evaluation of current process performance. 1.5 Review existing fault reports and other relevant plant asset information. 1.6 Investigate the operational status of plant components. |
| 2. Improve process | 2.1 Investigate the cause of effluent quality issues. 2.2 Investigate the operational status of the wastewater treatment process. 2.3 Assess the effectiveness of process control strategies. 2.4 Identify treatment process conditions for optimising the growth of beneficial microorganisms. |
| 3. Report on process | 3.1 Compile report on current status. 3.2 Make recommendations on optimisation options. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Range of Conditions

| Activated sludge processes include: | sequencing batch reactors (SBR) intermittent decant extended aeration (IDEA) Bathurst Box oxidation ditches |
| --- | --- |
| Nutrient removal processes include: | biological nutrients removal fermentation pre-fermenters |

# Unit Mapping Information

This unit supersedes and is equivalent to NWP412A Investigate and plan the optimisation of activated sludge processes.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPTRT084 Assess and improve activated sludge and nutrient removal processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed preparing recommendation reports on at least one process listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying wastewater microorganisms

selecting measures to optimise the growth of beneficial microorganisms

identifying a range of wastewater microorganisms, and their general characteristics and types of problems caused

identifying effluent quality and selecting process control strategies to optimise the growth of beneficial microorganisms

preparing reports outlining the optimum treatment for various microorganisms including measures to ensure validity

performing various calculations to provide data for the analysis and development of options and solutions, including at least one of F:M ratio, MCRT

return and wasting rates

preparing and applying chemical dosing as required

reviewing existing activated sludge or BNR treatment process performance with reference to historical data, differences in raw water quality and plant configuration

identifying data deficiencies

assessing fault reports and investigating the current operational status of activated sludge or BNR treatment process plant components

investigating current and potential chemical addition practices

planning trials to test the performance of the determined activated sludge or BNR treatment process optimisation options

identifying the general characteristics of different types of microorganisms

identifying wastewater characteristics that impact on microorganism growth

identifying the problems caused by microorganisms in specific wastewater treatment processes

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

types, lifecycle, characteristics of wastewater microorganisms

operational problems caused by wastewater microorganisms

effluent quality problems caused by wastewater microorganisms

properties and mode of action of chemical additives

principles that form the basis of activated sludge treatment processes

principles that form the basis of BNR-activated sludge treatment processes, including nitrification and de-nitrification, enhanced biological phosphorous removal

types of activated sludge and BNR-activated sludge treatment processes

activated sludge and BNR microbiology

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037