# Assessment Requirements for NWPTRT085 Assess and improve wastewater processes to control microbial impacts

Release: 1

Assessment Requirements for NWPTRT085 Assess and improve wastewater processes to control microbial impacts

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

interpreting a range of complex and technical documents, including:

regulatory, legislative, licensing and organisational requirements

codes and standards

specifications

organisational policies

identifying wastewater microorganisms

identifying a range of wastewater microorganisms, and their general characteristics and types of problems caused

preparing reports outlining the optimum treatment for various microorganisms including measures to ensure validity

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

types, lifecycle, characteristics of wastewater microorganisms

operational problems caused by wastewater microorganisms

effluent quality problems caused by wastewater microorganisms

relevant legislation, standards and workplace policies and procedures

principles of wastewater treatment processes

process control strategies

properties and mode of action of chemical additives

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037