# NWPTRT085 Assess and improve wastewater processes to control microbial impacts

Release: 1

NWPTRT085 Assess and improve wastewater processes to control microbial impacts

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP414A Select strategies to control microbial impact on wastewater treatment processes. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes PC 2.3 revised |

# Application

This unit describes the skills required to identify wastewater microorganisms and select appropriate measures to optimise the growth of beneficial microorganisms.

This unit applies to those working as wastewater treatment operational specialists.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to.

Those undertaking this unit would work autonomously, performing sophisticated tasks in a familiar context.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Treatment

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Investigate wastewater microorganisms | 1.1 Identify a range of typical wastewater microorganisms. 1.2 Identify the general characteristics of different types of microorganisms. 1.3 Identify wastewater characteristics that impact on microorganism growth. 1.4 Identify the problems caused by microorganisms in specific wastewater treatment processes. |
| 2. Select strategies to optimise the growth of beneficial microorganisms | 2.1 Investigate the cause of effluent quality issues. 2.2 Investigate the operational status of the wastewater treatment process. 2.3 Assess the effectiveness of various process control strategies to optimise the growth of beneficial microorganisms. 2.4 Select the most appropriate method. |
| 3. Identify and report on appropriate process controls | 3.1 Identify treatment process conditions for optimising the growth of beneficial microorganisms. 3.2 Report on appropriate treatment processes and associated sampling and testing requirements. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP414A Select strategies to control microbial impact on wastewater treatment processes.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPTRT085 Assess and improve wastewater processes to control microbial impacts

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

interpreting a range of complex and technical documents, including:

regulatory, legislative, licensing and organisational requirements

codes and standards

specifications

organisational policies

identifying wastewater microorganisms

identifying a range of wastewater microorganisms, and their general characteristics and types of problems caused

preparing reports outlining the optimum treatment for various microorganisms including measures to ensure validity

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

types, lifecycle, characteristics of wastewater microorganisms

operational problems caused by wastewater microorganisms

effluent quality problems caused by wastewater microorganisms

relevant legislation, standards and workplace policies and procedures

principles of wastewater treatment processes

process control strategies

properties and mode of action of chemical additives

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037