# Assessment Requirements for NWPTRT092 Operate and control digestion processes

Release: 1

Assessment Requirements for NWPTRT092 Operate and control digestion processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed operating at least one of the processes listed in Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on least one occasion.

planning and conducting routine inspections

completing logs

taking samples and performing basic tests, including at least one of:

pH

DO

Redox

total solids

volatile solids (aerobic)

gas composition

total solids

volatile solids

volatile acids

alkalinity (anaerobic)

collecting samples for laboratory testing

applying basic process formulae, including at least one of:

solids loading

volatile acids to alkalinity ratio

solids retention time

making basic process adjustments according to instructions, including at least one of:

feed rate

air and oxygen feed rate

mixing

pH (aerobic)

feed rate

sludge withdrawal

mixing

sludge feed rate

pH (anaerobic)

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

digestion process principles

types of hazards related to explosives, hydrogen sulphide, carbon dioxide

differences between aerobic and anaerobic biological processes

chemical dosing processes

chemicals used for pH control, odour control, nutrient addition

flow measurement

risk factors and potential hazards relating to anaerobic bioreactor systems

chemical and biological principles that form the basis of digestion

hydraulic detention times

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037