# NWPTRT094 Operate and control incineration processes

Release: 1

NWPTRT094 Operate and control incineration processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP349B Monitor, operate and control incineration processes. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes One new PC added to Element 1 |

# Application

This unit of competency describes the outcomes required to monitor, operate and control incineration plant and to measure and report on system performance and process quality control. The ability to identify faults and determine and apply technical adjustments is essential to performance.

This unit supports the attainment of skills and knowledge required for operational staff with a specific responsibility for incineration processes in water treatment plants.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those relating to safety.

Those undertaking this unit would work under supervision, while performing routine tasks, within familiar contexts.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Treatment

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Monitor incineration plant performance | 1.1 Monitor test results and combustion processes. 1.2 Identify and report process faults and the operational condition of plant. 1.3 Select and check equipment. 1.4 Fit and use personal protective equipment. |
| 2. Operate and control processes | 2.1 Carry out routine plant inspections. 2.2 Conduct and analyse process tests and compare performance to operational requirements. 2.3 Make system adjustments to improve system performance. 2.4 Collect, interpret and record process data and report. |
| 3. Compile process records | 3.1 Compile reports from plant and system data. 3.2 Report observations outside defined parameters for further action. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP349B Monitor, operate and control incineration processes.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPTRT094 Operate and control incineration processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

solving operational problems

completing reports and logs

identifying control system faults

sampling and testing products

conducting routine plant inspections

performing routine calculations when sampling and conducting basic tests

preparing and applying incineration processes

making basic system adjustments

completing required documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

coordination processes

system layout

system processes

lockout procedures for mechanical and electrical installations

relevant utilities and service bodies

hazardous materials handling

environmental aspects of wastewater treatment

equipment operation, capacity and limitations

effects of weather and conditions on operation of site or plant

pipes and fittings

mechanical and electrical control systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037