# NWP222A Operate basic flow control and regulating devices in irrigation systems

Revision Number: 2

NWP222A Operate basic flow control and regulating devices in irrigation systems

# Modification History

NWP222A Release 2:	Layout adjusted. No changes to content.

NWP222A Release 1:	Primary release.

# Unit Descriptor

This unit of competency describes the outcomes required to operate basic flow control and regulating devices in irrigation systems.

# Application of the Unit

This unit supports the attainment of skills and knowledge required for field and operational staff with responsibility for using flow control and metering devices according to organisational procedures.

# Licensing/Regulatory Information

Not applicable.

# Pre-Requisites

Not applicable.

# Employability Skills Information

This unit of competency contains employability skills.

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the required performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1 Monitor required flows in irrigation systems. | 1.1 Access and apply operating parameters and requirements for flows in irrigation systems. 1.2 Use equipment to support monitoring process in irrigation systems according to OHS, organisational and manufacturer requirements. 1.3 Monitor, measure and record flows at designated locations and systems according to agreed schedule and procedures. 1.4 Identify potential operational problems in irrigation systems and provide proactive advice to relevant personnel. |
| 2 Regulate flows in irrigation systems. | 2.1 Adjust flow regulation and control mechanisms in irrigation systems to increase and decrease flow according to organisational procedures. 2.2 Secure flow regulation devices in irrigation systems to maintain a constant flow and meet legislative and organisational requirements. |
| 3 Record and report system adjustments. | 3.1 Produce information relating to flow adjustments in irrigation systems according to organisational procedures. 3.2 Collect, record and report information on flows and abnormalities in irrigation systems according to organisational requirements. |
| 4 Respond to contingencies. | 4.1 Identify and assess potential risks and contingencies in the operation of flow control and regulating devices within irrigation systems. 4.2 Identify and apply organisational standards and procedures for responding to potential and actual risks and contingencies. 4.3 Apply organisational standards and procedures for informing relevant personnel within organisation of potential risks. |

# Required Skills and Knowledge

This describes the essential skills and knowledge and their level, required for this unit.

Required skills: collect and report system performance information adjust and maintain flow system control mechanisms secure flow regulation devices use literacy skills in regard to verbal and written communication in the workplace use personal protective equipment

Required knowledge: impact of the principles of hydraulics on the operation of flows system layout role of relevant utilities and service bodies risk factors and potential hazards equipment operation, capacity and limitations effects of weather and conditions on operation of system and site system flow control mechanisms relevant lock-out procedures for mechanical and electrical installations

# Evidence Guide

| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, the range statement and the Assessment Guidelines for the Training Package. |  |
| --- | --- |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | The candidate should demonstrate the ability to operate basic flow control and regulating devices in irrigation systems including: identifying flow requirements preparing for and conducting flow monitoring identifying and reporting operational problems adjusting and regulating flows according to organisational requirements completing records and reports |
| Context of and specific resources for assessment | Access to the workplace and resources including: documentation that should normally be available in a water industry organisation relevant codes, standards and government regulations Where applicable, physical resources should include equipment modified for people with disabilities. Access must be provided to appropriate learning and assessment support when required. Assessment processes and techniques must be culturally appropriate, and appropriate to the language and literacy capacity of the candidate and the work being performed. Validity and sufficiency of evidence requires that: competency will need to be demonstrated over a period of time reflecting the scope of the role and the practical requirements of the workplace where the assessment is part of a structured learning experience the evidence collected must relate to a number of performances assessed at different points in time and separated by further learning and practice a decision of competence only taken at the point when the assessor has complete confidence in the person's competence over time and in various contexts all assessment that is part of a structured learning experience must include a combination of direct, indirect and supplementary evidence where assessment is for the purpose of recognition (RCC/RPL), the evidence provided will need to be authenticated and show that it represents competency demonstrated over a period of time assessment can be through simulated project-based activity and must include evidence relating to each of the elements in this unit In all cases where practical assessment is used it will be combined with targeted questioning to assess the underpinning knowledge. Questioning will be undertaken in a manner appropriate to the skill levels of the operator and cultural issues that may affect responses to the questions, and will reflect the requirements of the competency and the work being performed. |

# Range Statement

| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Add any essential operating conditions that may be present with training and assessment depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts. |  |
| --- | --- |
| Equipment used includes: | personal protective equipment electronic digital monitoring and metering systems basic hand and power tools valves, pumps and flow meters mechanical meters and flow devices hydrants recording systems communication equipment, including: two-way radio telephone fax lifting and winching equipment on- and off-road vehicles |
| Processes to ensure flows are monitored, measured and recorded may require: | interaction and communication with other employees, other authorities and general public visual observation implementation of reporting procedures that may also include procedures for implementation of by-laws, organisational policies and statutory requirements |
| Designated locations and systems may include: | urban locations rural locations ground and surface water source systems wastewater collection and transfer systems trade waste systems |
| Flow regulation may include operation of: | valving systems, including: sluice blade gate non-return pressure reducing supervisory control and data acquisition (SCADA) systems pumping systems, including: centrifugal Archimedes screw type submersible positive displacement electronic and manual controlling systems service reservoirs |
| Legislative and organisational requirements may include: | relevant federal and state or territory legislation and regulations codes of practice, associated standards and guidance material documented organisational policies, manuals and induction programs relevant community planning and development agreements, such as land care agreements |

# Unit Sector(s)

Not applicable.

# Competency field

Collection and distribution.