# NWP278A Perform blue green algae sampling

Revision Number: 2

NWP278A Perform blue green algae sampling

# Modification History

NWP278A Release 2:	Layout adjusted. No changes to content.

NWP278A Release 1:	Primary release.

# Unit Descriptor

This unit of competency describes the outcomes required to collect and prepare water and wastewater samples for blue green algae identification, enumeration and toxicity testing according to standard operating procedures.

# Application of the Unit

This unit supports the attainment of skills and knowledge required for field and operational staff with specific responsibility for collecting blue green algae samples for identification, enumeration and toxicity testing.

# Licensing/Regulatory Information

Not applicable.

# Pre-Requisites

Not applicable.

# Employability Skills Information

This unit contains employability skills.

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the required performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1 Prepare for blue green algae sampling. | 1.1 Confirm required samples, procedures for sampling and sampling locations according to legislative and organisational requirements. 1.2 Select sampling equipment according to specified samples required and sample preservation methods. 1.3 Select and check equipment and tools required to meet organisational requirements. 1.4 Plan sampling work activities to comply with sampling plan and organisational requirements. |
| 2 Conduct blue green algae sampling. | 2.1 Collect samples, ensuring that sample types, sampling locations and sampling times comply with sampling plan. 2.2 Maintain integrity of samples during sampling and label sample containers according to organisational requirements. 2.3 Follow approved safety procedures to limit hazards and contamination to self, work area and environment. |
| 3 Record and report data. | 3.1 Record required information according to organisational requirements. 3.2 Report observations or measurements outside organisational guidelines or specifications for further action. |

# Required Skills and Knowledge

This describes the essential skills and knowledge and their level, required for this unit.

Required skills: prepare, collect, label and preserve blue green algae samples produce reports and logs plan work activities work effectively as part of a team identify and obtain resources follow plans and instructions apply procedures and standards communicate work requirements use literacy skills in regard to verbal and written communication in the workplace use personal protective equipment

Required knowledge: types and purposes of blue green algae samples procedures and techniques for blue green algae sampling sample preparation, including: prevention of contamination volume of sample appropriate containers preservation location selection location maintenance equipment transportation documentation procedures for samples legislative and organisational policies, procedures and standards communication systems work planning processes hazards associated with collection of blue green algae samples

# Evidence Guide

| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, the range statement and the Assessment Guidelines for the Training Package. |  |
| --- | --- |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | The candidate should demonstrate the ability to perform blue green algae sampling, including: planning and preparing for sampling tasks collecting samples according to sampling plan maintaining integrity of samples recording required information |
| Context of and specific resources for assessment | Access to the workplace and resources including: documentation that should normally be available in a water industry organisation relevant codes, standards and government regulations Where applicable, physical resources should include equipment modified for people with disabilities. Access must be provided to appropriate learning and assessment support when required. Assessment processes and techniques must be culturally appropriate, and appropriate to the language and literacy capacity of the candidate and the work being performed. Validity and sufficiency of evidence requires that: competency will need to be demonstrated over a period of time reflecting the scope of the role and the practical requirements of the workplace where the assessment is part of a structured learning experience the evidence collected must relate to a number of performances assessed at different points in time and separated by further learning and practice a decision of competence should only be made when the assessor has complete confidence in the person's competence over time and in various contexts all assessment that is part of a structured learning experience must include a combination of direct, indirect and supplementary evidence where assessment is for the purpose of recognition (RCC/RPL), the evidence provided will need to be authenticated and show that it represents competency demonstrated over a period of time assessment can be through simulated project-based activity and must include evidence relating to each of the elements in this unit In all cases where practical assessment is used it will be combined with targeted questioning to assess the underpinning knowledge. Questioning will be undertaken in a manner appropriate to the skill levels of the operator and cultural issues that may affect responses to the questions, and will reflect the requirements of the competency and the work being performed. |

# Range Statement

| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Add any essential operating conditions that may be present with training and assessment depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts. |  |
| --- | --- |
| Samples may include grab, integrated or concentrated samples for: | identification enumeration toxicity testing |
| Legislative and organisational requirements may include: | Australian standards, for example AS/NZSÂ 5667 Water quality - sampling state Environment Protection Authority sampling guidelines relevant federal and state or territory legislation and regulations codes of practice, associated standards and guidance material documented organisational policies, manuals and induction programs relevant community planning and development agreements, such as land care agreements |
| Sampling equipment may include: | buckets or wide-mouthed containers depth samplers sample dippers hose pipe samplers plankton nets laboratory supplied sample containers weighted sample bottles |
| Sample preservation methods may include: | refrigeration chemical addition, such as Lugol's iodine solution |
| Planning sampling work activities may include: | interpreting instructions and directions planning timelines interacting and communicating with team members and individuals considering customer service requirements |
| Sampling locations may include: | water storages rivers wastewater lagoons |
| Records may include: | sample records, field detail sheets or chain of custody forms, including information such as: time sample was taken details of person collecting sample sample point volume of sample data gathered at time of collection preservation techniques |

# Unit Sector(s)

Not applicable.

# Competency field

Treatment.