# Assessment Requirements for PMAOPS305 Operate process control systems

Release: 1

Assessment Requirements for PMAOPS305 Operate process control systems

# Modification History

Release 1. Supersedes and is equivalent to PMAOPS305B Operate process control systems

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria, and demonstrate the ability to:

identify and control hazards

use schematics and data to monitor plant and optimise performance

isolate the causes of problems and distinguish between causes of problems/alarm/fault indications, including:

instrument failure/malfunction

electrical failure/malfunction

mechanical failure/malfunction

equipment design deficiencies

product parameters (temperature, flows, pressure and levels)

process control system malfunction

power/utility failures

communicate effectively with team, group, supervisors and other personnel

recognise early warning signs of equipment/processes needing attention or with potential problems

take appropriate action to ensure a timely return to full performance

select and apply planned and unplanned start-up shutdown procedures

identify and communicate information required by others

complete written records.

# Knowledge Evidence

Evidence must be provided that demonstrates knowledge of:

organisation procedures

hazards that may arise in the job/work environment, and:

their possible causes

potential consequences

appropriate risk controls

the function and location of the process/production equipment

interactions between plant items/processes

product specifications and tolerances

systems’ operating parameters

impact of external factors (e.g. variations in weather and feed)

system integrity limits

process control philosophies and strategies

emergency shutdown procedures

specific plant process operations

process-specific science (physics, chemistry and biochemistry) to the level of being able to interpret the science and extract factors controlling the process and product and by-product production rate and quality (e.g. for chemistry interpret the equation for factors controlling rate and yield and also interfering reactions, such as salts and hydrates)

basic science of upstream and downstream processes

emergency shutdown procedures

process drawings, such as piping and instrumentation diagram (P&ID) and process flow diagram (PFD )

cause and effect

control system architecture

basis of control for the plant/s

types of instrumentation and control systems, including feed forward, feedback and open control

types of instrumentation and control system components and their role, including primary sensing devices, final control elements and transducers/transmitters

how control loops and their components, including PID control, set points, controlled variable, indicated variable operate to control the process, and their limitations

interaction between multiple control loops, including cascade control

impacts of changing controller settings and the limits within which changes can be made

effective communication techniques

uninterrupt power supplies (UPS) and its applications and use.

# Assessment Conditions

The unit should be assessed holistically and the judgement of competence based on a holistic assessment of the evidence.

The collection of performance evidence:

should occur over a range of situations which include typical disruptions to normal, smooth operation of an operating plant

will typically include a supervisor/third-party report or other evidence focusing on consistent performance and problem recognition and solving. A supervisor/third-party report must be prepared by someone who has a direct, relevant, current relationship with the person being assessed and who is in a position to form a judgement on workplace performance relevant to the unit of competency

may include the use of an appropriate process control system controlling an industrial plant requiring demonstration of operation, start-up and shutdown procedures and responding to problems

may use an appropriate process control system linked to a simulator which simulates an industrial plant requiring demonstration of operation, start-up and shutdown procedures and responding to problems

may use industry-based simulation for all or part of the unit particularly where safety, lack of opportunity or significant cost is an issue.

Assessment should occur in operational workplace situations. Where this is not possible, or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment reflecting realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Assessment in a simulated environment should use evidence collected from one or more of:

simulator

walk-throughs

pilot plant operation

demonstration of skills

industry-based case studies/scenarios

‘what ifs’.

Knowledge evidence may be collected concurrently with performance evidence (provided a record is kept) or through an independent process, such as workbooks, written assessments or interviews (provided a record is kept).

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications associated with this unit.

The regulatory framework will be reflected in workplace policies and procedures and is not required to be independently assessed.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

In addition, the assessor or anyone acting in subject matter expert role in assessment must demonstrate both technical competency and currency. If the assessor cannot demonstrate technical competency and currency they must assess with a subject matter expert who does meet these requirements.

Technical competence can be demonstrated through one or more of:

relevant VET or other qualification/Statement of Attainment

appropriate workplace experience undertaking the type of work being assessed under routine and non-routine conditions

appropriate workplace experience supervising/evaluating the type of work being assessed under routine and non-routine conditions

Currency can be demonstrated through one or more of:

being currently employed undertaking the type of work being assessed

being employed by the organisation undertaking the type of work being assessed and having maintained currency in accordance with that organisation’s policies and procedures

having consulted/had contact with an organisation undertaking the type of work being assessed within the last twelve months, the consultation/contact being related to assessment

conducting on-the-job training/assessments of the type of work being assessed

being an active member of a relevant professional body and participating in activities relevant to the assessment of this type of work.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=9fc2cf53-e570-4e9f-ad6a-b228ffdb6875