# PMAOPS307 Transfer bulk fluids into/out of storage facility

Release: 1

PMAOPS307 Transfer bulk fluids into/out of storage facility

# Modification History

Release 1. Supersedes and is equivalent to PMAOPS307B Transfer bulk fluids into/out of storage facility

# Application

This unit of competency covers the skills and knowledge required to transfer bulk fluids into/out of storage facility. The storage facility may be a land-based tank farm or a tanker at sea. The storage facility will integrate several plant items (single unit operations). Operation of the storage facility includes the operation of ancillary equipment that is integral to the operation of the production unit, such as:

pumps (e.g. transfer and circulation pumps, and stripping pumps)

compressors (e.g. boil-off gas compressors)

gauges

deluge systems and other fire protection systems, such as flares, fire pumps, jockey pumps, fire monitors and sub-surface foam injection

gas detection systems and equipment

fire detection and reporting systems

emergency shutdown systems

tank dipping and measurement equipment

instrumentation.

The unit of competency applies to storage facilities, such as:

tanks, such as concrete bunded storage tanks, atmospheric pressure tanks, floating roof tanks, and temperature controlled tanks (heated, chilled and refrigerated)

vessels (e.g. pressure storage vessels).

This unit of competency applies to operations technicians who are required to demonstrate a significant understanding of the process and the equipment operation in order to identify and rectify operational problems, prepare for and undertake load-out/transfer, and ensure effective safety and communications systems are applied.

In a typical scenario involving land-based tank farms or tankers at sea transferring liquefied gas, the control room operator, from the main panel, will monitor and control the transfer of product into storage facilities, including controlling product levels, flows, temperatures and pressures. The operations technician will also prepare and complete all necessary documentation for the control, transfer and calculation of product volumes.

The storage facility or vessel will be monitored through the use of gas and fire detection (or other safety) equipment. Automatic sprinkler systems, deluges or other emergency response equipment will be activated in the event of fire/emergency detection and emergency shutdown systems will operate.

The equipment to be used in the transfer of product will be checked and tested before use. In some cases, before transferring, the circulation of product through pipelines will commence. This is usually for the purpose of pipeline chilldown and is required to minimise vapour pressure build-up in warm pipework.

A comprehensive fire water supply main may encompass the facility and/or be located on the vessel, and a suitable fire pump would be able to provide fire water requirements in emergencies.

This unit of competency applies to an individual operating independently in a plant with local control or in liaison with the control room operator in a plant with a centralised control panel such as distributed control system (DCS) type controls.

This unit of competency applies to an individual working alone or as part of a team or group and working in liaison with other shift team members and the control room operator, as appropriate.

This competency does not require the operation of a central control panel.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Operations

# Unit Sector

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work | 1.1 | Receive and give shift handover |
|  |  | 1.2 | Identify work requirements |
|  |  | 1.3 | Identify and control hazards |
|  |  | 1.4 | Coordinate with appropriate personnel |
|  |  | 1.5 | Check for recent work undertaken on storage/transfer facilities |
|  |  | 1.6 | Note any outstanding/incomplete work |
|  |  | 1.7 | Check operational status of storage/transfer facilities |
| 2 | Prepare storage/transfer facilities | 2.1 | Manage products within the tank farm or at the platform in accordance with the site/enterprise’s storage types, products and locations |
|  |  | 2.2 | Inspect storage and/or docking facilities for leaks or damage |
|  |  | 2.3 | Check and test safety systems to verify their operational condition and status, and report on all equipment faults |
|  |  | 2.4 | Conduct critical inspections of storage and tank farms (and ascertain seaworthiness of vessels at sea, if required) and transfer facilities ensuring areas are safe, clean and equipment can’t be compromised by debris |
|  |  | 2.5 | Identify and report all equipment requiring maintenance, follow-up to satisfactory conclusion |
| 3 | Monitor storage facilities | 3.1 | Confirm tank mixes, capacities and quality, and determine if these are being maintained within the agreed product requirements prior to transfer |
|  |  | 3.2 | Monitor gas detection/environmental/safety systems to ensure the storage area is a safe environment and that the safety of the area or vessel is not compromised |
|  |  | 3.3 | Communicate storage conditions to transfer or other personnel to inform them of the operational condition and status of the storage facilities or vessel |
| 4 | Monitor load-out/transfer platform or facility in accordance with procedures | 4.1 | Monitor load-out/transfer systems on the platform or in the terminal load-out/transfer area |
|  |  | 4.2 | Monitor gas detection/environmental/safety systems to ensure the load-out/transfer area is a safe environment |
|  |  | 4.3 | Inform appropriate personnel of the load-out/transfer area status, and conditions of the storage facilities |
| 5 | Conduct load-out/transfer in accordance with procedures | 5.1 | Communicate operational status to required personnel prior to loading |
|  |  | 5.2 | Ensure that all start-up permissives have been satisfied and product is ready for transfer |
|  |  | 5.3 | Set and adjust pump flow rates to keep within agreed capacities |
|  |  | 5.4 | Monitor loading pump performance to keep within stated operational ranges and vibration is in limits |
|  |  | 5.5 | Take and record product shipping/transfer samples if required |
| 6 | Isolate and de-isolate plant | 6.1 | Isolate storage/transfer facility or its component parts |
|  |  | 6.2 | Make safe for required work |
|  |  | 6.3 | Check storage/transfer facility/plant item is ready to be returned to service |
|  |  | 6.4 | De-isolate and prepare plant for return to service |
| 7 | Resolve problems | 7.1 | Identify possible problems in equipment and process |
|  |  | 7.2 | Determine problems needing action |
|  |  | 7.3 | Determine possible fault causes |
|  |  | 7.4 | Rectify problem using appropriate solution within area of responsibility |
|  |  | 7.5 | Follow up items until resolved |
|  |  | 7.6 | Report problems outside area of responsibility to designated person |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Regulatory framework | The latest version of all legislation, regulations, industry codes of practice and Australian/international standards, or the version specified by the local regulatory authority, must be used, and include one or more of the following: legislative requirements, including work health and safety (WHS) industry codes of practice and guidelines environmental regulations and guidelines Australian and other standards licence and certification requirements All operations to which this unit applies are subject to stringent health, safety and environment (HSE) requirements, which may be imposed through state/territory or federal legislation, and these must not be compromised at any time. Where there is an apparent conflict between performance criteria and HSE requirements, the HSE requirements take precedence. |
| Hazards | Hazards include one or more of the following: darkness, distance over which transfer must occur electricity gas gases and liquids under pressure structural hazards structural collapse equipment failures industrial (machinery, equipment and product) equipment or product mass noise, rotational equipment or vibration plant services (steam, condensate and cooling water) working at heights, in restricted or confined spaces, or in environments subjected to heat, noise, dusts or vapours flammability and explosivity hazardous products and materials unauthorised personnel sharp edges, protrusions or obstructions slippery surfaces, spills or leaks extreme weather other hazards that might arise |
| Routine problems | Routine problems include one or more of the following: insufficient/inappropriate storage for product/material interruptions to loading through adverse weather conditions product surging control of temperature and pressure variations in feed vibration tank capacities and space |
| Non-routine problems | Non-routine problems are unexpected problems, or variations of previous problems and must be resolved by applying operational knowledge to develop new solutions, either individually or in collaboration with relevant experts, to: determine problems needing action determine possible fault causes develop solutions to problems which do not have a known solution follow through items initiated until final resolution has occurred report problems outside area of responsibility to designated person Operational knowledge includes one or more of the following: procedures training technical information such as journals, engineering specifications remembered experience relevant knowledge obtained from appropriate people |
| Start up/shut down | Start up/shut down includes the following: start up and shut down to/from normal operating conditions start up and shut down to/from isolated, cold or empty start up and shut down to/from other conditions/situations experienced on the plant |
| Permissive | A permissive is any and all permissions which are required and include one or more of the following: authorisation permit/clearance other permit sanctioned by procedures |
| Procedures | All operations must be performed in accordance with relevant procedures. Procedures are written, verbal, visual, computer-based or in some other form, include one or more of the following: emergency procedures work instructions standard operating procedures (SOPs) safe work method statements (SWMS) formulas/recipes batch sheets temporary instructions any similar instructions provided for the smooth running of the plant |
| Operate | Operate is to monitor, adjust/make change to the production unit and/or its component items to meet specifications, by one or both of the following: manually in the plant using local controller in the plant |
| Monitor | Monitor means to continuously or frequently observe using data and/or senses. |
| Product | Product includes one or more of the following: hydrocarbons oil gas bulk liquid chemicals/petrochemicals |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to PMAOPS307B Transfer bulk fluids into/out of storage facility

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=9fc2cf53-e570-4e9f-ad6a-b228ffdb6875