# Assessment Requirements for PMAOPS315 Operate and troubleshoot process control systems

Release: 1

Assessment Requirements for PMAOPS315 Operate and troubleshoot process control systems

# Modification History

Release 1. Unit code and title changed. Application and Performance Criteria changed. Range of Conditions removed. Assessment Requirements changed. Supersedes and is equivalent to PMAOPS305 Operate process control systems.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit:

at least 2 times, each in a separate work context.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

process control systems, including:

the function and location of the equipment

operating parameters and integrity limits

impact of external factors, including variations in weather and feed

emergency shutdown procedures

control system architecture

basis of control for the plant/s

types of instrumentation and control systems, including feedforward, feedback and open control

types of instrumentation and control system components and their role, including primary sensing devices, final control elements and transducers and transmitters

how control loops and their components, including proportional integral derivative (PID) control, set points, controlled variable and indicated variable, operate to control the process, and their limitations

interaction between multiple control loops, including cascade control

impacts of changing controller settings and the limits within which changes can be made

uninterruptable power supplies (UPS) and its applications and use

organisational processes and procedures, including:

interactions between plant items and processes

specific plant process operations

process drawings, such as piping and instrumentation diagram (P&ID) and process flow diagrams (PFD)

process control philosophies and strategies

physics and chemistry to the level of being able to provide an overview of the science of the process control system

basic science of upstream and downstream processes

principles of cause and effect

product specifications and tolerances

process control system abnormal situations and required action including but not limited to:

instrument failure and malfunction

electrical failure and malfunction

mechanical failure and malfunction

equipment design deficiencies

product parameters (temperature, flows, pressure and levels)

process control system malfunction

power and utility failures

variation in feed rate; quality or loss of feed

unstable control of pressure, temperature, level and/or flows

unstable and suboptimal operation

control equipment failure

process plant trips

change in atmospheric conditions (rain, temperature, wind and lightning)

emergency situations

process control system hazards:

possible causes

potential consequences

appropriate risk controls

reporting and escalation procedures.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

plant, process control system, interface

operating procedures

abnormal situations must be relevant to process control systems.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=9fc2cf53-e570-4e9f-ad6a-b228ffdb6875