# PMAOPS325 Generate electrical power

Release: 1

PMAOPS325 Generate electrical power

# Modification History

Release 1. Supersedes and is equivalent to PMAOPS325B Generate electrical power

# Application

This unit of competency covers the skills and knowledge required to operate a power generation system and ancillary equipment. This unit is expected to apply in offshore, remote or other situations where the site/plant generates electrical power.

This unit of competency includes all such items of equipment and unit operations which form part of the production/processing system, including as appropriate to the facility:

high voltage and low voltage AC and DC

battery systems

uninterrupted power supplies (UPS)

switchboards

prime movers

transformers

unit control panels

electrical protection equipment.

This unit of competency applies to operations technicians who are required to demonstrate a significant understanding of the process and the equipment operation in order to identify and rectify operational problems, balance loads and power factors, make changes to meet power demand, and perform start-up and shutdown procedures and isolations.

This unit of competency applies to an individual operating independently in a plant with local control or in liaison with the control room operator in a plant with a centralised control panel, such as distributed control system (DCS) type controls. In the case of large complex plant, the operations technician would be part of a team during start-up and shutdown procedures.

This unit of competency applies to an individual working alone or as part of a team or group and working in liaison with other shift team members and the control room operator, as appropriate.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Operations

# Unit Sector

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work | 1.1 | Receive and give shift handover |
|  |  | 1.2 | Identify work requirements |
|  |  | 1.3 | Identify and control hazards |
|  |  | 1.4 | Coordinate with appropriate personnel |
|  |  | 1.5 | Check for recent work undertaken on power generation system |
|  |  | 1.6 | Note any outstanding/incomplete work |
|  |  | 1.7 | Check operational status of power generation system |
| 2 | Prepare for power generation | 2.1 | Communicate start-up of power generation to all required personnel |
|  |  | 2.2 | Select the prime mover to be used |
|  |  | 2.3 | Select system for the generation process appropriate to voltage systems and requirements |
|  |  | 2.4 | Conduct pre-start-up checks as required |
|  |  | 2.5 | Start the prime mover for the generation system to procedures |
|  |  | 2.6 | Synchronise all equipment to transfer the power safely into the system |
| 3 | Operate generation equipment | 3.1 | Balance loads and power factors |
|  |  | 3.2 | Monitor and adjust loads as required to ensure that all machine loads are maintained within safe working conditions |
|  |  | 3.3 | Distribute energy to the generation system in a safe and efficient manner, ensuring that the status of all equipment is monitored as required |
|  |  | 3.4 | Rebalance loads as required so as to maximise production efficiency |
|  |  | 3.5 | Monitor generation system and its component plant items frequently and critically throughout shift using measured/indicated data and senses |
|  |  | 3.6 | Take other action as required by procedures |
|  |  | 3.7 | Maintain logs to record all systems data and identify all deviations or problems encountered |
| 4 | Shut down process | 4.1 | Communicate shutdown of process to all required personnel |
|  |  | 4.2 | Systematically shed loads, shut down generators as required during the shutdown process |
|  |  | 4.3 | Isolate all required equipment from the bus in accordance with procedures |
|  |  | 4.4 | Return the system to a balanced operating condition after shutting down selected generator(s) |
| 5 | Isolate and de-isolate power generation system and its component plant items | 5.1 | Isolate entire generation system and/or any component plant item |
|  |  | 5.2 | Make safe for required work |
|  |  | 5.3 | Check generation system/plant item is ready to be returned to service |
|  |  | 5.4 | De-isolate and prepare generation system/plant item for return to service |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Regulatory framework | The latest version of all legislation, regulations, industry codes of practice and Australian/international standards, or the version specified by the local regulatory authority, must be used, and include one or more of the following: legislative requirements, including work health and safety (WHS) industry codes of practice and guidelines environmental regulations and guidelines Australian and other standards licence and certification requirements All operations to which this unit applies are subject to stringent health, safety and environment (HSE) requirements, which may be imposed through state/territory or federal legislation, and these must not be compromised at any time. Where there is an apparent conflict between performance criteria and HSE requirements, the HSE requirements take precedence. |
| Hazards | Hazards include one or more of the following: electricity gas gases and liquids under pressure structural hazards structural collapse equipment failures industrial (machinery, equipment and product) equipment or product mass noise, rotational equipment or vibration plant services (steam, condensate and cooling water) working at heights, in restricted or confined spaces, or in environments subjected to heat, noise, dusts or vapours flammability and explosivity hazardous products and materials unauthorised personnel sharp edges, protrusions or obstructions slippery surfaces, spills or leaks extreme weather other hazards that might arise |
| Routine problems | Routine problems include one or more of the following: variation/loss of fuel/energy supply control equipment failure power demand changes change in atmospheric conditions (rain, temperature, wind, lightning) emergency situations |
| Non-routine problems | Non-routine problems are unexpected problems, or variations of previous problems and must be resolved by applying operational knowledge to develop new solutions, either individually or in collaboration with relevant experts, to: determine problems needing action determine possible fault causes develop solutions to problems which do not have a known solution follow through items initiated until final resolution has occurred report problems outside area of responsibility to designated person Operational knowledge includes one or more of the following: procedures training technical information such as journals, engineering specifications remembered experience relevant knowledge obtained from appropriate people |
| Start up/shut down | Start up/shut down includes the following: start up and shut down to/from normal operating conditions start up and shut down to/from isolated, cold or empty start up and shut down to/from other conditions/situations experienced on the plant |
| Procedures | All operations must be performed in accordance with relevant procedures. Procedures are written, verbal, visual, computer-based or in some other form, include one or more of the following: emergency procedures work instructions standard operating procedures (SOPs) safe work method statements (SWMS) formulas/recipes batch sheets temporary instructions any similar instructions provided for the smooth running of the plant |
| Operate | Operate is to monitor, adjust/make change to the production unit and/or its component items to meet specifications, by one or both of the following: manually in the plant using local controller in the plant This competency does not require the operation of a central control panel. |
| Product | Product includes anything produced by a process step and so includes: intermediate products, such as the product from one process step, which then becomes the feed for another |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to PMAOPS325B Generate electrical power

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=9fc2cf53-e570-4e9f-ad6a-b228ffdb6875

Assessment Requirements for PMAOPS325 Generate electrical power

# Modification History

Release 1. Supersedes and is equivalent to PMAOPS325B Generate electrical power

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria, and include the ability to:

monitor power use and generating equipment and maximise performance

perform pre-start checks, start-up/shutdown procedures, and isolations and de-isolations

synchronise equipment in the system

balance loads and power factors

identify early warning signs of equipment/processes needing attention or with potential problems and take required action

identify hazards and risks and apply risk control procedures.

# Knowledge Evidence

Evidence must be provided that demonstrates knowledge of:

all items on a schematic of the production unit and functions of each

principles of operation of plant/equipment, including cathodic protection techniques, switching techniques, earthing techniques, voltage systems, electrical generation and distribution theory, and theory of synchronisation

process-specific science (physics) to the level of being able to interpret the science and extract factors controlling the process and product

interactions between plant items/processes

systems’ operating parameters, integrity limits, product specifications and tolerances, and temperature

isolation procedures

hazards associated with chemical substances, such as PCBs

impact of external factors (e.g. variations in weather and feed)

correct methods of starting, stopping, operating and controlling plant

emergency shutdown procedures

function and troubleshooting of major components and their problems and problem resolution

hierarchy of control

hazards that may arise in the job/work environment, and:

their possible causes

potential consequences

appropriate risk controls.

# Assessment Conditions

The unit should be assessed holistically and the judgement of competence based on a holistic assessment of the evidence.

The collection of performance evidence:

should occur over a range of situations which include typical disruptions to normal, smooth operations

will typically include a supervisor/third-party report focusing on consistent performance and problem recognition and solving. A supervisor/third-party report must be prepared by someone who has a direct, relevant, current relationship with the person being assessed and who is in a position to form a judgement on workplace performance relevant to the unit of competency

must include the use of industrial style power generation plant allowing operation

may use industry-based simulation for part only of the unit particularly where safety, lack of opportunity or significant cost is an issue.

Assessment should occur in operational workplace situations. Where this is not possible, or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment reflecting realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Assessment in a simulated environment should use evidence collected from one or more of:

walk-throughs

pilot plant operation

demonstration of skills

industry-based case studies/scenarios

‘what ifs’.

Knowledge evidence may be collected concurrently with performance evidence (provided a record is kept) or through an independent process, such as workbooks, written assessments or interviews (provided a record is kept).

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications associated with this unit.

The regulatory framework will be reflected in workplace policies and procedures and is not required to be independently assessed.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

In addition, the assessor or anyone acting in subject matter expert role in assessment must demonstrate both technical competency and currency. If the assessor cannot demonstrate technical competency and currency they must assess with a subject matter expert who does meet these requirements.

Technical competence can be demonstrated through one or more of:

relevant VET or other qualification/Statement of Attainment

appropriate workplace experience undertaking the type of work being assessed under routine and non-routine conditions

appropriate workplace experience supervising/evaluating the type of work being assessed under routine and non-routine conditions

Currency can be demonstrated through one or more of:

being currently employed undertaking the type of work being assessed

being employed by the organisation undertaking the type of work being assessed and having maintained currency in accordance with that organisation’s policies and procedures

having consulted/had contact with an organisation undertaking the type of work being assessed within the last twelve months, the consultation/contact being related to assessment

conducting on-the-job training/assessments of the type of work being assessed

being an active member of a relevant professional body and participating in activities relevant to the assessment of this type of work.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=9fc2cf53-e570-4e9f-ad6a-b228ffdb6875