# PMAOPS325 Generate electrical power

Release: 1

PMAOPS325 Generate electrical power

# Modification History

Release 1. Supersedes and is equivalent to PMAOPS325B Generate electrical power

# Application

This unit of competency covers the skills and knowledge required to operate a power generation system and ancillary equipment. This unit is expected to apply in offshore, remote or other situations where the site/plant generates electrical power.

This unit of competency includes all such items of equipment and unit operations which form part of the production/processing system, including as appropriate to the facility:

high voltage and low voltage AC and DC

battery systems

uninterrupted power supplies (UPS)

switchboards

prime movers

transformers

unit control panels

electrical protection equipment.

This unit of competency applies to operations technicians who are required to demonstrate a significant understanding of the process and the equipment operation in order to identify and rectify operational problems, balance loads and power factors, make changes to meet power demand, and perform start-up and shutdown procedures and isolations.

This unit of competency applies to an individual operating independently in a plant with local control or in liaison with the control room operator in a plant with a centralised control panel, such as distributed control system (DCS) type controls. In the case of large complex plant, the operations technician would be part of a team during start-up and shutdown procedures.

This unit of competency applies to an individual working alone or as part of a team or group and working in liaison with other shift team members and the control room operator, as appropriate.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Operations

# Unit Sector

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work | 1.1 | Receive and give shift handover |
|  |  | 1.2 | Identify work requirements |
|  |  | 1.3 | Identify and control hazards |
|  |  | 1.4 | Coordinate with appropriate personnel |
|  |  | 1.5 | Check for recent work undertaken on power generation system |
|  |  | 1.6 | Note any outstanding/incomplete work |
|  |  | 1.7 | Check operational status of power generation system |
| 2 | Prepare for power generation | 2.1 | Communicate start-up of power generation to all required personnel |
|  |  | 2.2 | Select the prime mover to be used |
|  |  | 2.3 | Select system for the generation process appropriate to voltage systems and requirements |
|  |  | 2.4 | Conduct pre-start-up checks as required |
|  |  | 2.5 | Start the prime mover for the generation system to procedures |
|  |  | 2.6 | Synchronise all equipment to transfer the power safely into the system |
| 3 | Operate generation equipment | 3.1 | Balance loads and power factors |
|  |  | 3.2 | Monitor and adjust loads as required to ensure that all machine loads are maintained within safe working conditions |
|  |  | 3.3 | Distribute energy to the generation system in a safe and efficient manner, ensuring that the status of all equipment is monitored as required |
|  |  | 3.4 | Rebalance loads as required so as to maximise production efficiency |
|  |  | 3.5 | Monitor generation system and its component plant items frequently and critically throughout shift using measured/indicated data and senses |
|  |  | 3.6 | Take other action as required by procedures |
|  |  | 3.7 | Maintain logs to record all systems data and identify all deviations or problems encountered |
| 4 | Shut down process | 4.1 | Communicate shutdown of process to all required personnel |
|  |  | 4.2 | Systematically shed loads, shut down generators as required during the shutdown process |
|  |  | 4.3 | Isolate all required equipment from the bus in accordance with procedures |
|  |  | 4.4 | Return the system to a balanced operating condition after shutting down selected generator(s) |
| 5 | Isolate and de-isolate power generation system and its component plant items | 5.1 | Isolate entire generation system and/or any component plant item |
|  |  | 5.2 | Make safe for required work |
|  |  | 5.3 | Check generation system/plant item is ready to be returned to service |
|  |  | 5.4 | De-isolate and prepare generation system/plant item for return to service |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Regulatory framework | The latest version of all legislation, regulations, industry codes of practice and Australian/international standards, or the version specified by the local regulatory authority, must be used, and include one or more of the following: legislative requirements, including work health and safety (WHS) industry codes of practice and guidelines environmental regulations and guidelines Australian and other standards licence and certification requirements All operations to which this unit applies are subject to stringent health, safety and environment (HSE) requirements, which may be imposed through state/territory or federal legislation, and these must not be compromised at any time. Where there is an apparent conflict between performance criteria and HSE requirements, the HSE requirements take precedence. |
| Hazards | Hazards include one or more of the following: electricity gas gases and liquids under pressure structural hazards structural collapse equipment failures industrial (machinery, equipment and product) equipment or product mass noise, rotational equipment or vibration plant services (steam, condensate and cooling water) working at heights, in restricted or confined spaces, or in environments subjected to heat, noise, dusts or vapours flammability and explosivity hazardous products and materials unauthorised personnel sharp edges, protrusions or obstructions slippery surfaces, spills or leaks extreme weather other hazards that might arise |
| Routine problems | Routine problems include one or more of the following: variation/loss of fuel/energy supply control equipment failure power demand changes change in atmospheric conditions (rain, temperature, wind, lightning) emergency situations |
| Non-routine problems | Non-routine problems are unexpected problems, or variations of previous problems and must be resolved by applying operational knowledge to develop new solutions, either individually or in collaboration with relevant experts, to: determine problems needing action determine possible fault causes develop solutions to problems which do not have a known solution follow through items initiated until final resolution has occurred report problems outside area of responsibility to designated person Operational knowledge includes one or more of the following: procedures training technical information such as journals, engineering specifications remembered experience relevant knowledge obtained from appropriate people |
| Start up/shut down | Start up/shut down includes the following: start up and shut down to/from normal operating conditions start up and shut down to/from isolated, cold or empty start up and shut down to/from other conditions/situations experienced on the plant |
| Procedures | All operations must be performed in accordance with relevant procedures. Procedures are written, verbal, visual, computer-based or in some other form, include one or more of the following: emergency procedures work instructions standard operating procedures (SOPs) safe work method statements (SWMS) formulas/recipes batch sheets temporary instructions any similar instructions provided for the smooth running of the plant |
| Operate | Operate is to monitor, adjust/make change to the production unit and/or its component items to meet specifications, by one or both of the following: manually in the plant using local controller in the plant This competency does not require the operation of a central control panel. |
| Product | Product includes anything produced by a process step and so includes: intermediate products, such as the product from one process step, which then becomes the feed for another |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to PMAOPS325B Generate electrical power

# Links

MSA Training Package Implementation Guides - http://mskills.org.au/training-packages/info/