# Assessment Requirements for PMAOPS348 Operate safety, protection and shutdown systems

Release: 1

Assessment Requirements for PMAOPS348 Operate safety, protection and shutdown systems

# Modification History

Release 1. This version was released with PMA Chemical, Hydrocarbons and Refining Training Package, Release 2.0.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

at least 2 times, each in a separate work context.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

physical plant and equipment, including:

the main items on the safety, protection and shutdown systems schematics and the function of each

safety, protection and shutdown systems equipment terminology

specific key safety, protection and shutdown systems alarms and appropriate actions

locations of muster points, emergency-response beacons and equipment relevant to the safety, protection and shutdown systems

policies and procedures, including:

safety, protection and shutdown systems duty-of-care obligations

required preparation and approvals required for different types of work to be completed on the safety, protection and shutdown systems unit or their component items

emergency shutdown procedures and communication protocols

incident response role requirements within the Site Safety Management Plan when safety, protection and shutdown systems are activated

safety, protection and shutdown system critical-function testing regimes and their own role within those regimes

operational parameters including:

correct methods of activating, resetting the safety, protection and shut down systems

understanding of the Cause-and-Effects diagrams of the safety, protection and shut down systems

specific actions taken upon activation of the safety, protection and shutdown systems

specific key operating principles of safety, protection and shutdown systems equipment and associated ancillary equipment

safety, protection and shut down systems activation parameters, integrity limits, and regulatory specifications and tolerances

risk management including:

override management process

impacts that activation of the emergency shutdown and safety systems have on the process safety being operated

impacts that activation of the emergency shutdown and safety systems have on the relevant upstream and downstream processes to the level of being able to make sound decisions regarding activation

impact of external factors on safety, protection and shutdown systems

appropriate application of hierarchy of control to manage risks

safety, protection and shutdown systems hazards:

possible causes

potential consequences

appropriate risk controls.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

safety protection and shutdown systems

operating procedures

abnormal situations that would trigger the activation of safety, protection and/or shutdown system.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=9fc2cf53-e570-4e9f-ad6a-b228ffdb6875