# Assessment Requirements for PMAOPS359 Operate and troubleshoot process measurement and control systems

Release: 1

Assessment Requirements for PMAOPS359 Operate and troubleshoot process measurement and control systems

# Modification History

Release 1. This version was released with PMA Chemical, Hydrocarbons and Refining Training Package, Release 2.0.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit:

at least 2 times, each in a separate work context.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

all items on local process measurement and control systems including:

type and functions

troubleshooting techniques and response to error messages and alarms

principles of operation

operating parameters and integrity limits, and product specifications and tolerances, including engineering units and scale

operating procedures and correct methods of starting, stopping, operating, controlling isolating and de-isolating the systems

redundancy shutdown procedures and protocols

interactions between plant items and processes including but not limited to control loops, control valves, actuators and positioners

condition monitoring systems, their program interfaces and requisite checks

equipment safeguarding relevant to the systems and area

process-specific physics and chemistry to the level of being able to provide an overview of the science of the process measurement and control systems

local process measurement and control system abnormal situations and required action, including but not limited to:

variation or loss of supply

unstable control of pressure, temperature, level and flows

control equipment failure

instrument readings that have no variance over time

energy source failure

interpretation from test results

analyser inaccuracy or malfunction

hierarchy of control

process measurement and control system hazards:

possible causes

potential consequences

appropriate risk controls

reporting and escalation procedures.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

real industrial equipment located in either a live plant or a realistic simulated industrial environment

routine operating procedures.

Abnormal situations must include:

industry incidents or events relevant to the operation of process measurement and control systems

actions adhering to workplace policies and procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=9fc2cf53-e570-4e9f-ad6a-b228ffdb6875