# PMASUP243 Monitor and maintain pipeline coatings

Release: 1

PMASUP243 Monitor and maintain pipeline coatings

# Modification History

Release 1. Supersedes and is equivalent to PMASUP243B Monitor and maintain pipeline coatings

# Application

This unit of competency covers the skills and knowledge required to monitor and maintain pipeline coatings.

This unit of competency applies to operators who are required to determine the condition of pipeline coatings, prepare for and apply pipeline coatings, collect and report data from inspections and repairs, and utilise the information to develop appropriate intervention strategies.

In a typical scenario, the operator will be carrying out inspection and testing activities on coated pipelines both in the plant and in the field to procedures and to the parameters established through the principle reference standard AS 2885.3-2012 Pipelines - Gas and liquid petroleum - Operation and maintenance. They will also be involved in maintaining the pipeline coating which may have sustained damage for a variety of reasons. Activities will include assessing, through a range of testing and inspection techniques, the integrity of a pipeline’s protective coating, and identifying areas requiring repair. Pipelines typically will require preparation to enable the work to be carried out, followed by inspection and testing activities to procedures to ensure the adequacy of the repair work.

This unit of competency applies to an individual working alone or as part of a team or group and working in liaison with other shift team members and the control room operator, as appropriate. They would be part of a team during pipeline start-up and shutdown procedures.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Support

# Unit Sector

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work | 1.1 | Identify work requirements |
|  |  | 1.2 | Identify and control hazards |
|  |  | 1.3 | Coordinate with appropriate personnel |
| 2 | Prepare pipelines for inspection/ testing | 2.1 | Plan and prepare for inspection of pipeline coating to procedures |
|  |  | 2.2 | Identify pipeline location to determine workplace hazards |
|  |  | 2.3 | Consult appropriate personnel to ensure the work is coordinated effectively with others involved on the work site |
|  |  | 2.4 | Obtain tools and equipment needed to carry out the work to procedures and check for correct operation and safety |
| 3 | Inspect and test pipeline coatings | 3.1 | Visually inspect pipeline coatings to determine condition and location of irregularities |
|  |  | 3.2 | Test pipeline as required to ensure system conforms to required operating parameters |
|  |  | 3.3 | Take action, as required |
|  |  | 3.4 | Report and record information related to status and any irregularity/deviations to procedures |
| 4 | Prepare pipeline surface and repair coating | 4.1 | Isolate work area to enable repair to proceed to procedures |
|  |  | 4.2 | Prepare the pipeline surface to receive the coating repair material using appropriate methods |
|  |  | 4.3 | Recoat the pipeline to procedures and test the repair area |
| 5 | Notify completion of work | 5.1 | Ensure worksite is clean and waste material is disposed of correctly to procedures and legislative requirements |
|  |  | 5.2 | Inform the control centre of the outcome of repairs and any abnormal situations |
|  |  | 5.3 | Return pipeline system to normal service to procedures if safe to do so |
|  |  | 5.4 | Notify work completion, incidents and irregularities to procedures |
| 6 | Compile and analyse reports | 6.1 | Collect and compile repair and operational data into accepted reporting format |
|  |  | 6.2 | Take action, as required |
|  |  | 6.3 | Ensure reports provide an accurate and ongoing record of deviations in the performance of the pipeline system |
|  |  | 6.4 | Utilise information or reports for short and long-term control planning |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Regulatory framework | The latest version of all legislation, regulations, industry codes of practice and Australian/international standards, or the version specified by the local regulatory authority, must be used, and include one or more of the following: legislative requirements, including work health and safety (WHS) industry codes of practice and guidelines environmental regulations and guidelines Australian and other standards licence and certification requirements All operations to which this unit applies are subject to stringent health, safety and environment (HSE) requirements, which may be imposed through state/territory or federal legislation, and these must not be compromised at any time. Where there is an apparent conflict between performance criteria and HSE requirements, the HSE requirements take precedence. |
| Procedures | All operations must be performed in accordance with relevant procedures. Procedures are written, verbal, visual, computer-based or in some other form, include one or more of the following: emergency procedures work instructions standard operating procedures (SOPs) safe work method statements (SWMS) formulas/recipes batch sheets temporary instructions any similar instructions provided for the smooth running of the plant |
| Hazards | Hazards include one or more of the following: gases and liquids under pressure equipment failures flammability and explosivity hazardous products and materials unauthorised personnel sharp edges, protrusions or obstructions slippery surfaces, spills or leaks extreme weather remoteness/isolation other hazards that might arise |
| Routine problems | Routine problems must be resolved by applying known solutions. Routine problems are predictable and include one or more of the following: coating failure temperature, pressure and flow variations damage from geophysical or other circumstances communication failures Known solutions are drawn from one or more of the following: procedures training remembered experience Non-routine problems must be reported according to according to relevant procedures. |
| Equipment | This unit of competency includes all such items of equipment and unit operations which form part of the pipeline inspection and testing system, including as appropriate to the facility, one or more of the following: low voltage and high voltage holiday detectors coating thickness gauges and meters densitometers condensators coating defect assessment survey equipment (e.g. direct current voltage gradient (DCVG) method equipment and Pearson technique method equipment) |
| Action | Action taken in response to problems includes one or more of the following: determining problems needing action determining possible fault causes rectifying problem using appropriate solution within area of responsibility following through items initiated until final resolution has occurred reporting problems outside area of responsibility to designated person |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to PMASUP243B Monitor and maintain pipeline coatings

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=9fc2cf53-e570-4e9f-ad6a-b228ffdb6875