# Assessment Requirements for PMASUP344 Monitor and control repairs and modifications on operational pipe

Release: 1

Assessment Requirements for PMASUP344 Monitor and control repairs and modifications on operational pipe

# Modification History

Release 1. Supersedes and is equivalent to PMASUP344B Monitor and control repairs and modifications on operational pipe

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria, and include the ability to:

ensure work, safety and permit requirements are conveyed clearly to relevant parties

ensure preparations, work and testing are carried out according to requirements

identify hazards and risks and apply risk control procedures

communicate effectively with team/workgroup, supervisors and other personnel

distinguish between causes of problems/alarm/fault indications, such as:

leakages

blockages

instrument failure

mechanical failure

ice formation

flow variations

recognise early warning signs of equipment/processes needing attention or with potential problems

complete forms and documentation.

# Knowledge Evidence

Evidence must be provided that demonstrates knowledge of:

welding and cutting techniques on operational pipeline systems

hot tap and stoppling techniques

inspection techniques

pipeline codes and standards

pipeline drawings and plans

the operation of pipe cutting equipment

the operation of lifting and moving equipment

fitting of pipeline repair clamps and sleeves

excavation of pipelines

regulatory framework

organisation procedures, including those covering

safety, emergency and hazard control

work permit systems

maintenance

quality assurance

standard operating procedures (SOPs)

hierarchy of control.

# Assessment Conditions

The unit should be assessed holistically and the judgement of competence based on a holistic assessment of the evidence.

The collection of performance evidence:

should occur over a range of situations which include typical disruptions to normal, smooth operations

will typically include a supervisor/third-party report focusing on consistent performance and problem recognition and solving. A supervisor/third-party report must be prepared by someone who has a direct, relevant, current relationship with the person being assessed and who is in a position to form a judgement on workplace performance relevant to the unit of competency

must include monitoring of at least two (2) pipeline repairs and/or modifications, the use of appropriate tools, equipment and safety gear requiring demonstration of preparation, operation, completion and responding to problems

may use industry-based simulation for part only of the unit particularly where safety, lack of opportunity or significant cost is an issue.

Assessment should occur in operational workplace situations. Where this is not possible, or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment reflecting realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Assessment in a simulated environment should use evidence collected from one or more of:

walk-throughs

pilot plant operation

demonstration of skills

industry-based case studies/scenarios

‘what ifs’.

Knowledge evidence may be collected concurrently with performance evidence (provided a record is kept) or through an independent process, such as workbooks, written assessments or interviews (provided a record is kept).

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications associated with this unit.

The regulatory framework will be reflected in workplace policies and procedures and is not required to be independently assessed.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

In addition, the assessor or anyone acting in subject matter expert role in assessment must demonstrate both technical competency and currency. If the assessor cannot demonstrate technical competency and currency they must assess with a subject matter expert who does meet these requirements.

Technical competence can be demonstrated through one or more of:

relevant VET or other qualification/Statement of Attainment

appropriate workplace experience undertaking the type of work being assessed under routine and non-routine conditions

appropriate workplace experience supervising/evaluating the type of work being assessed under routine and non-routine conditions

Currency can be demonstrated through one or more of:

being currently employed undertaking the type of work being assessed

being employed by the organisation undertaking the type of work being assessed and having maintained currency in accordance with that organisation’s policies and procedures

having consulted/had contact with an organisation undertaking the type of work being assessed within the last twelve months, the consultation/contact being related to assessment

conducting on-the-job training/assessments of the type of work being assessed

being an active member of a relevant professional body and participating in activities relevant to the assessment of this type of work.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=9fc2cf53-e570-4e9f-ad6a-b228ffdb6875