# Assessment Requirements for PMBWELD303E Install polyethylene plastic pipelines for non-pressure drainage

Release: 1

Assessment Requirements for PMBWELD303E Install polyethylene plastic pipelines for non-pressure drainage

# Modification History

Release 1. Unit code and title changed. Application changed. Elements and Performance Criteria changed. Range of Conditions removed. Assessment Requirements changed. Supersedes and is equivalent to PMBWELD303 Install polyethylene (non-pressure) drainage pipelines.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit of competency, and demonstrated the ability to:

install polyethylene plastic pipelines for non-pressure drainage, at least once, to meet job specifications, including the selection and application of mechanical and fusion welding jointing methods.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

types of materials and components being used

range of methods for mechanical jointing, fusion welding, special service connections, and pipeline repair work

Australian Standards relevant to the materials being used and products being made, including requirements for:

handling and transport of polyethylene drainage materials

long-term polyethylene pipe storage

polyethylene pipe installation

service connection of non-pressure polyethylene pipelines

repair of non-pressure polyethylene pipelines

production workflow sequences and materials demand

storage, handling, and transport procedures for polyethylene pipeline units

quality requirements and range of suitable tests to establish quality level of work

key variables that may affect quality of work, and how to manage them, including:

alignment

materials and conditions for joint

integrity of joint

typical process and product problems, including early warning signs, possible causes and corrective actions

organisational procedures relevant to the work environment and job role.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=932aacef-7947-4c80-acc6-593719fe4090