# PMBWELD306E Design polyethylene plastic pipelines for pressurised applications

Release: 1

PMBWELD306E Design polyethylene plastic pipelines for pressurised applications

# Modification History

Release 1. Unit code and title changed. Application changed. Elements and Performance Criteria changed. Range of Conditions removed. Assessment Requirements changed. Supersedes and is equivalent to PMBWELD306 Design polyethylene plastic pressure pipelines.

# Application

This unit describes the skills and knowledge required to design and specify appropriate testing and commissioning procedures while under industrial conditions in the field for polyethylene (PE) plastic pressure pipelines.

This unit applies to an operator working alone or as part of a team.

The unit principally refers to experienced operators who are required to select materials, components and designs for pressure applications of plastic pipelines to requirements, and specify appropriate testing and commissioning with high pressure water.

No licensing or certification requirements exist at the time of publication. Relevant legislation, industry standards and codes of practice within Australia must be applied.

# Pre-requisite Unit

Nil.

# Competency Field

Welding – Plastic Pipelines, Plastic Welding

# Elements and Performance Criteria

| Elements Elements describe the essential outcomes. | Performance Criteria Performance criteria describe the performance needed to demonstrate achievement of the element. |
| --- | --- |
| 1. Assess suitability of polyethylene pipe materials for specific pressure applications | 1.1 Identify materials as grades of polyethylene from national standards, job specifications and work site instructions 1.2 Determine polyethylene materials properties from national standards and material data sheets 1.3 Identify job needs from worksite instructions and job specifications |
| 2. Determine appropriate products from national standards | 2.1 Identify material options from national standards, supplier data sheets, and government codes and regulations 2.2 Identify performance limitations of material options from materials knowledge and data sheets 2.3 Identify pipe and component options from national standards, supplier data sheets, and government codes and regulations 2.4 Identify performance limitations of pipe and component options from materials knowledge and data sheets 2.5 Identify suitable jointing methods for pipes and fittings from jointing knowledge 2.6 Identify operational conditions from job specifications and workplace procedures |
| 3. Determine pipeline requirements | 3.1 Identify length of pipe required from job specifications 3.2 Identify type and number of fittings required from job specifications 3.3 Select pipe and components in context of specific job needs and product properties 3.4 Identify jointing equipment or materials from job specifications 3.5 Prepare field operational sheets according to workplace procedures 3.6 Adjust the design to meet requirements and quality standards |
| 4. Determine testing and commissioning procedures | 4.1 Determine specific installation test requirements from job specifications and quality standards 4.2 Establish procedures for commissioning of work to be done from job specifications 4.3 Accurately maintain records and logbooks |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Numeracy skills to perform measurements and interpret technical specifications.

Reading skills to interpret job specifications and workplace procedures.

Writing and oral communication skills to record and report on procedures and produce field operational sheets.

Other foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to PMBWELD306 Design polyethylene plastic pressure pipelines.

# Links

Companion Volume implementation guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=932aacef-7947-4c80-acc6-593719fe4090