# PMBWELD308E Install PVC plastic pipelines for pressurised applications

Release: 1

PMBWELD308E Install PVC plastic pipelines for pressurised applications

# Modification History

Release 1. Unit code and title changed. Application changed. Elements and Performance Criteria changed. Range of Conditions removed. Assessment Requirements changed. Supersedes and is equivalent to PMBWELD308 Install PVC plastic pressure pipelines.

# Application

This unit describes the skills and knowledge required to install polyvinylchloride (PVC) plastic pressure pipeline components in the field, in the form of UPVC (unplasticised PVC), MPVC (microcellular PVC) or OPVC (oriented PVC).

This unit applies to an experienced technician working alone or as part of a team.

The unit principally refers to the assessment of suitability of materials for specific gas or water pressure applications, preparation for and performance of chemical and mechanical jointing, repairs and service connections, and solving installation problems.

No licensing or certification requirements exist at the time of publication. Relevant legislation, industry standards and codes of practice within Australia must be applied.

# Pre-requisite Unit

Nil.

# Competency Field

Welding – Pipeline Installation, Plastic Pipelines

# Elements and Performance Criteria

| Elements Elements describe the essential outcomes. | Performance Criteria Performance criteria describe the performance needed to demonstrate achievement of the element. |
| --- | --- |
| 1. Identify applications for alternative jointing technologies | 1.1 Assess suitability of mechanical jointing systems from known properties and limitations 1.2 Assess suitability of chemical bonding jointing systems from known properties and limitations 1.3 Perform trial jointing for all methods, and identify, rectify and report on non-conformance 1.4 Assess quality against job specifications |
| 2. Determine methods for handling, storage, transport and installation of PVC pipeline components | 2.1 Identify requirements for handling and transport of PVC materials from job specifications and according to relevant standards 2.2 Determine requirements for long-term storage from job specifications and according to relevant standards 2.3 Determine requirements for pipe installation, including additional materials from job specifications and according to relevant standards |
| 3. Perform service connection and repair of plastic pipelines | 3.1 Determine service connection requirements from job requirements and according to relevant standards 3.2 Perform service connection to meet job requirements 3.3 Determine repair requirements from job requirements and according to relevant standards 3.4 Identify alternative repair options that meet job requirements 3.5 Repair installation to meet job requirements |
| 4. Assess quality of completed installation | 4.1 Identify quality standards and test procedures for installation according to job specifications 4.2 Follow test procedures to visually assess quality of completed installation against job specifications and report results 4.3 Accurately maintain records and logbooks |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Numeracy skills to perform measurements and interpret technical specifications of job.

Reading skills to interpret job specifications and workplace procedures.

Writing and oral communication skills to record and report on the installation of PVC plastic pipelines.

Other foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to PMBWELD308 Install PVC plastic pressure pipelines.

# Links

Companion Volume implementation guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=932aacef-7947-4c80-acc6-593719fe4090