# PMBWELD310E Design PVC plastic pipelines for pressure applications

Release: 1

PMBWELD310E Design PVC plastic pipelines for pressure applications

# Modification History

Release 1. Unit code and title changed. Application changed. Elements and Performance Criteria changed. Range of Conditions removed. Assessment Requirements changed. Supersedes and is equivalent to PMBWELD310 Design PVC plastic pressure pipelines.

# Application

This unit describes the skills and knowledge required to design polyvinylchloride (PVC) plastics pressure pipeline components under industrial conditions in the field.

This unit applies to an operator working alone or as part of a team.

The unit principally refers to experienced operators who are required to select materials, components and designs for specific pressure applications of PVC pipelines and specify appropriate testing and commissioning.

No licensing or certification requirements exist at the time of publication. Relevant legislation, industry standards and codes of practice within Australia must be applied.

# Pre-requisite Unit

Nil.

# Competency Field

Welding – Plastic Pipelines, Plastic Welding

# Elements and Performance Criteria

| Elements Elements describe the essential outcomes. | Performance Criteria Performance criteria describe the performance needed to demonstrate achievement of the element. |
| --- | --- |
| 1. Assess suitability of PVC pipe materials for specific pressure applications | 1.1 Identify materials as grades of PVC, including variations, from national standards, job specifications and worksite instructions 1.2 Determine PVC materials and properties from national standards and material data sheets 1.3 Identify job needs from worksite instructions and job specifications |
| 2. Determine appropriate products from national standards | 2.1 Identify material options from national standards, supplier data sheets, and government codes and regulations 2.2 Identify performance limitations of material options from materials knowledge and data sheets 2.3 Identify pipe and component options from national standards, supplier data sheets, and government codes and regulations 2.4 Identify performance limitations of pipe and component options from materials knowledge and data sheets 2.5 Identify suitable jointing methods for pipes and fittings from jointing knowledge 2.6 Identify operational conditions from job specifications and workplace procedures |
| 3. Determine pipeline requirements | 3.1 Identify length of pipe required from job specifications 3.2 Identify fittings and number of fittings required from job specifications 3.3 Select pipe and components in the context of specific job needs and product properties 3.4 Identify required jointing equipment or materials from job specifications 3.5 Prepare field operational sheets including requirements and layout, according to workplace procedures 3.6 Adjust design to meet requirements and quality standards |
| 4. Determine testing and commissioning procedures | 4.1 Determine specific installation test requirements from job specifications 4.2 Identify alternative test procedures to meet requirements 4.3 Accurately maintain records and logbooks |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Numeracy skills to produce and interpret technical information.

Reading skills to interpret job requirements and workplace procedures.

Writing and oral communication skills to record and report on PVC pipeline design.

Other foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to PMBWELD310 Design PVC plastic pressure pipelines.

# Links

Companion Volume implementation guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=932aacef-7947-4c80-acc6-593719fe4090