# PPMCSK301 Operate process control equipment

Release: 1

PPMCSK301 Operate process control equipment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Application

This unit of competency describes the skills and knowledge required to operate process control equipment in a pulp and/or paper manufacturing facility.

The unit applies to production operators and technicians who access, monitor and control process control equipment, including responding to process variations and problems involved in working within an operating environment with complex integrated equipment and continuous operations.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Computer/Process Control Equipment (CSK)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Access and navigate control system | 1.1 Receive and give shift handover 1.2 Identify, control and report safety risks and hazards 1.3 Identify and check operational status of control system 1.4 Use control screens to access control system 1.5 Navigate control system to meet job and specifications requirements |
| 2. Monitor and control process | 2.1 Monitor key variables frequently using control screen/s to check process status 2.2 Make equipment adjustments using process control systems according to operating and workplace health and safety procedures |
| 3. Respond to process variations and problems | 3.1 Identify process variations through faulty signals 3.2 Adjust equipment in response to process variations and alarms and specifications requirements 3.3 Report process variations according to organisational procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret information from a range of workplace documentation including standard operating procedures, operation manuals, checklists, drawings and signage |
| Writing | Record shift data using log books or computer systems Record equipment malfunctions and product or part deviations using clear language and industry terminology |
| Communication | Respond to non-verbal signals, including hand signals and alarms |
| Numeracy | Interpret numerical readings on instruments and gauges Interpret symbols used in process controls |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| PPMCSK301 Operate process control equipment | PPMCSK310 Operate process control equipment | Changes to performance criteria, foundation skills, performance evidence and knowledge evidence Assessment conditions updated | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93

Assessment Requirements for PPMCSK301 Operate process control equipment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has safely operated process control equipment for at least two operational intervals, associated with one of the following integrated systems:

primary resources processes

waste paper handling processes

waste paper operations processes

pulping processes

chemical recovery systems

stock preparation systems

wet end processes

dry end processes

finishing and converting processes

warehousing and dispatch processes

water services processes

steam generation processes

electrical power generation processes.

In completing the above, there must also be evidence that the individual has, for each interval:

conducted a risk assessment and applied control measures

monitored key variables during the operation of process control equipment, including:

speed

output rate

product integrity and general conformance to specification

accessed and navigated control systems

made process adjustments to respond to variations and problems.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

procedures, regulations and workplace requirements relevant to operating process control equipment, including:

computer-controlled machine operating procedures

workplace health and safety requirements, and the use of personal protective equipment in relation to handling materials, equipment operation and clean-up

hazard identification and control procedures

standard operating procedures

isolation procedures

procedures for identifying and reporting equipment malfunctions, and product or part deviations

risk management using the hierarchy of controls applied to the operation of computer-controlled machines and processes

symbols used in process controls

materials, equipment and process sufficient to recognise material and equipment conditions that may lead to out-of-specification production

effect of adjustments on part or product specifications.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a pulp and/or paper manufacturing facility or an environment that accurately represents workplace conditions

resources, equipment and materials:

computer systems

electronic screens and alarms

process control equipment and systems

analogue and digital instrumentation

personal protective equipment for operating process control equipment.

specifications:

workplace and operating procedures relevant to operating process control equipment, and workplace health and safety requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93