# PPMEPG201 Monitor and control power generation systems

Release: 1

PPMEPG201 Monitor and control power generation systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Application

This unit of competency describes the skills and knowledge required to monitor and control power generation systems that are steam generated and produce power output of less than 500kW or use gas fired turbines that produce power greater than 500kW, and record and report operating data.

The unit applies to production support operators who assist in power generation operations, undertaking routine work in monitoring, identifying and solving predictable problems that occur with integrated equipment and continuous operations.

No licensing, legislative or certification requirements apply to this unit at the time of publication. This unit should not be used where the turbine equipment falls under the category for which a high risk work licence is required. Users are advised to check with the relevant regulatory authority for appropriate unit and licensing requirements.

# Pre-requisite Unit

Nil

# Unit Sector

Electrical Power Generation (EPG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to monitor power generation operations | 1.1 Check production requirements at start of shift and plan work activities according to workplace health and safety and standard operating procedures 1.2 Identify health and safety hazards and report safety concerns 1.3 Select and fit personal protective equipment according to safety requirements 1.4 Confirm power generation processes are within operational specifications by observation and inspection 1.5 Maintain process supplies to meet production requirements 1.6 Record turbine operational performance according to workplace requirements 1.7 Communicate operational status to relevant personnel |
| 2. Undertake routine monitoring and control of power generation operations | 2.1 Confirm operational status by inspection and routine observation 2.2 Monitor and maintain continuing process supplies to meet production requirements 2.3 Measure turbine pressures, temperatures and flows according to operating procedures and manufacturer specifications 2.4 Adjust turbine and generation controls to maintain operation within specifications 2.5 Monitor and maintain power output demand and distribution system to meet production requirements |
| 3. Record power generation performance and handover operations | 3.1 Record power generation processes and pressures, temperatures and flows data according to workplace requirements 3.2 Record and report maintenance requirements 3.3 Brief incoming operators on status of power generations operations and equipment according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret information in workplace procedures and maintenance schedules |
| Writing | Complete accurate basic records in the required format |
| Oral communication | Provide information about boiler operations using clear language and industry terminology |
| Numeracy | Interpret power generation data and basic numerical settings on instruments and gauges involving pressures, flows and temperatures Record basic numerical data for power generation performance |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| PPMEPG201 Monitor and control power generation systems | PPMEPG210 Monitor and control power generation system | Minor unit title change Changes to elements, performance criteria, foundation skills, performance evidence and knowledge evidence Assessment conditions updated | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93

Assessment Requirements for PPMEPG201 Monitor and control power generation systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has undertaken routine monitoring and control of a power generation system for at least two operational intervals, including for each interval:

completed checks and measures throughout the process and responded appropriately to variations from specifications

completed accurate records for system operation and equipment faults

communicated clear information on power generation operation status for handover.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace health and safety requirements and procedures for power generation operations

permits and licensing requirements for facility hazards and high risk plant and equipment relevant to power generation operations

workplace environmental sustainability requirements and practices for power generation operations, including workplace biotechnological applications and processes

characteristics and dangers of heat and energy generated by power generation systems

purpose, features and operation of power generation and distribution systems, operating parameters and allowable variations, including:

electrical isolation procedures

principles of operation of transformers and circuit protection systems

AC/DC generation principles

electrical output control and regulation principles

power factor characteristics and effects

effect of steam quality on turbine operation

operation and application of electronic and other control systems to control power generation operations

data used to monitor power generation system performance, including:

heat levels

pressure levels

energy generation levels

heat build-up

system overload information

test outcomes for fuel

past performance records

standard operating procedures specific to power generation operations

procedures for communicating, recording and reporting for boiler operations, processes and faults.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a manufacturing facility or an environment that accurately reflects performance in a workplace

resources, equipment and materials:

power generation system that is either steam generated and produces power output of less than 500kW or uses gas fired turbine that produces power greater than 500kW

high and low voltage transformers

steam or gas turbine driven alternators

switchboards

water systems and auxiliary plant

circuit breaker

AC/DC generation and distribution systems

analogue and digital instrumentation

chemicals and other process supplies

electronic control systems, including digital control system, touch screens or robotics required to control power generation operations

personal protective equipment required for operating a power generation system

proforma or recording system for recording data and information on power generation operations

specifications:

workplace and standard operating procedures relating to power generation operations, including health and safety, risks and hazards identification, plant isolation, quality, housekeeping and environmental requirements

relationships:

relevant personnel for the purposes of communicating information.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93