# Assessment Requirements for PPMEPG210 Monitor and control power generation system

Release: 2

Assessment Requirements for PPMEPG210 Monitor and control power generation system

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria of this unit. There must be evidence that the individual has:

operated a power generation system at least twice in line with required enterprise intervals

followed safe working practices when operating power generation system

used electronic and other control systems to control equipment during operations

communicated effectively, through written and verbal means, with others, in the work area when operating power generation system

completed the following records for each of the above operational periods:

operating log

record of steam generation processes and maintenance requirements.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

organisational procedures relevant to workplace health and safety with particular emphasis on:

use of personal protective equipment (PPE)

equipment lock out and isolation procedures

handling chemicals and hazardous substances, including spill and disposal guidelines

plant clearance requirements

emergency procedures and responses

job safety analysis documentation and processes

plant permit systems and processes

high risk load shifting licensing requirements where relevant

major hazard facility requirements where relevant

characteristics and dangers of heat and energy generated by power generation systems

power generation plant layout

purpose, features and operation of power generation and distribution systems, operating parameters and allowable variations

operation and application of electronic and other control systems

electrical isolation procedures

principles of operation of transformers and circuit protection systems

AC/DC generation principles

electrical output control and regulation principles

power factor characteristics and effects

effect of steam quality on turbine operation

data used to evaluate power generation system performance including:

heat levels

pressure levels

energy generation levels

heat build-up

system overload information

test outcomes for fuel

past performance records

organisational procedures:

standard operating procedures (SOP) specific to power generation operations

communication reporting lines

recording and reporting power generation processes and maintenance requirements.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or a productive environment that accurately reflects performance in a workplace

resources, equipment and materials:

access to the full range of equipment involved in integrated continuous manufacturing of power generation systems in a pulp or paper manufacturing facility, including chemical products

high and low voltage transformers

steam or gas turbine driven alternators

switchboards

water systems and auxiliary plant

circuit breaker

AC/DC generation and distribution systems

analogue and digital instrumentation

PPE suitable for operating a power generation system

specifications:

template operating log and documents for recording power generation processes and maintenance requirements

organisational workplace health and safety and SOP

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93