# PPMEPG210 Monitor and control power generation system

Release: 2

PPMEPG210 Monitor and control power generation system

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Application

This unit of competency describes the skills and knowledge required to operate, monitor and maintain power generation systems and record and report operating data.

The unit applies to production support operators who monitor and control power generation systems, in a pulp or paper manufacturing facility. This typically involves working in a facility with complex integrated equipment and continuous operations.

No licensing, legislative or certification requirements apply to this unit at the time of publication. Where the turbine equipment falls under the category for which a High Risk Work Licence is required, this unit should not be used and the appropriate unit should be sought.

# Pre-requisite Unit

Nil

# Unit Sector

Electrical power generation (EPG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Confirm operational status | 1.1 Check production requirements at start of shift and carry out daily work activities in line with organisational safety and standard operating procedures (SOP) 1.2 Confirm power generation processes are within operational specifications by observation and inspection 1.3 Maintain process supplies to meet production requirements 1.4 Record turbine performance in operational log 1.5 Communicate operational status to relevant personnel 1.6 Select, fit, use and maintain personal protective equipment according to job requirements and task to be undertaken |
| 2. Monitor and control power generation plant operation | 2.1 Confirm operational status by inspection and routine observation 2.2 Monitor and maintain continuing process supplies to meet production requirements 2.3 Measure turbine pressures, temperatures and flows, according to organisational procedures/SOPs, or manufacturer’s recommendations 2.4 Adjust turbine and generation controls to maintain operation within specifications 2.5 Monitor and maintain power output demand and distribution system to meet production requirements |
| 3. Record and report power generation performance | 3.1 Record pressures, temperatures and flows 3.2 Record power generation processes and data in operating log 3.3 Record and report maintenance according to organisational procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret workplace health and safety and SOP |
| Writing | Complete accurate basic records for power generation processes and maintenance requirements |
| Oral communication | Provide clear basic information about operational status of power generation plant |
| Numeracy | Interpret basic numerical settings on instruments and gauges involving pressures, flows and temperatures Monitor, assess and interpret power generation data Record basic numerical data for power generation performance |
| Get the work done | Use and assess sensory information (sight, sound, touch, smell, vibration, temperature) to adjust process to maximise safety and productivity |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| PPMEPG210 Monitor and control power generation system Release 2 | PPMEPG210 Monitor and control power generation system Release 1 | Performance criteria added, minor changes to knowledge evidence, minor change to licensing statement | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93

Assessment Requirements for PPMEPG210 Monitor and control power generation system

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria of this unit. There must be evidence that the individual has:

operated a power generation system at least twice in line with required enterprise intervals

followed safe working practices when operating power generation system

used electronic and other control systems to control equipment during operations

communicated effectively, through written and verbal means, with others, in the work area when operating power generation system

completed the following records for each of the above operational periods:

operating log

record of steam generation processes and maintenance requirements.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

organisational procedures relevant to workplace health and safety with particular emphasis on:

use of personal protective equipment (PPE)

equipment lock out and isolation procedures

handling chemicals and hazardous substances, including spill and disposal guidelines

plant clearance requirements

emergency procedures and responses

job safety analysis documentation and processes

plant permit systems and processes

high risk load shifting licensing requirements where relevant

major hazard facility requirements where relevant

characteristics and dangers of heat and energy generated by power generation systems

power generation plant layout

purpose, features and operation of power generation and distribution systems, operating parameters and allowable variations

operation and application of electronic and other control systems

electrical isolation procedures

principles of operation of transformers and circuit protection systems

AC/DC generation principles

electrical output control and regulation principles

power factor characteristics and effects

effect of steam quality on turbine operation

data used to evaluate power generation system performance including:

heat levels

pressure levels

energy generation levels

heat build-up

system overload information

test outcomes for fuel

past performance records

organisational procedures:

standard operating procedures (SOP) specific to power generation operations

communication reporting lines

recording and reporting power generation processes and maintenance requirements.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or a productive environment that accurately reflects performance in a workplace

resources, equipment and materials:

access to the full range of equipment involved in integrated continuous manufacturing of power generation systems in a pulp or paper manufacturing facility, including chemical products

high and low voltage transformers

steam or gas turbine driven alternators

switchboards

water systems and auxiliary plant

circuit breaker

AC/DC generation and distribution systems

analogue and digital instrumentation

PPE suitable for operating a power generation system

specifications:

template operating log and documents for recording power generation processes and maintenance requirements

organisational workplace health and safety and SOP

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93