# Assessment Requirements for PPMEPG320 Manage a power generation system startup

Release: 2

Assessment Requirements for PPMEPG320 Manage a power generation system startup

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria of this unit. There must be evidence that the individual has:

identified production requirements and managed power generation startup at least twice in line with required enterprise intervals, to suit power generation levels over different operating periods

completed pre-startup safety checks

completed routine maintenance when preparing for system startup

followed safe working practices when starting up a power generation system

used electronic and other control systems to control equipment during operations

communicated effectively, through written and verbal means, with others, in the work area when starting up a power generation system

recorded system startup processes and power generation performance data in the operating log on completion of each of the above system startups.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

organisational procedures relevant to workplace health and safety with particular emphasis on:

use of personal protective equipment (PPE)

equipment lock out and isolation procedures

handling chemicals and hazardous substances, including spill and disposal guidelines

plant clearance requirements

emergency procedures and responses

job safety analysis documentation and processes

plant permit systems and processes

high risk load shifting licensing requirements where relevant

major hazard facility requirements where relevant

local power authority regulations and reporting requirements for starting up power generation systems

power generation plant layout

purpose, features and operation of power generation and distribution systems, operating parameters and allowable variations

operation and application of electronic and other control systems

electrical isolation procedures

principles of operation of transformers and circuit protection systems

AC/DC generation principles

electrical output control and regulation principles

power factor characteristics and effects

effect of steam quality on turbine operation

operational tolerances of the turbine system and effects of operating outside these tolerances

key features and purpose of the full range of processes involved in starting up power generation systems, including pre-startup safety checks

pre-start limitations and run-up limitations

methods used to test power systems and diagnose deviations from operational specifications

organisational procedures:

standard operating procedures (SOP) specific to power generation system startup

communication reporting lines

recording and reporting startup processes and power generation performance.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or a productive environment that accurately reflects performance in a workplace

resources, equipment and materials:

chemical products and systems

high and low voltage transformers

steam or gas turbine driven alternators

switchboards

water systems and auxiliary plant

circuit breakers

AC/DC generation and distribution systems

maintenance tools and equipment and consumables for power generation systems

PPE suitable for starting up and operating power generation systems

specifications:

local power authority regulations for starting up power generation systems

details of production requirements to plan power generation levels

template operating log for recording startup processes and power generation performance

organisational workplace health and safety and SOP for power generation system startup.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93