# Assessment Requirements for PPMEPG330 Coordinate power generation system shutdown

Release: 2

Assessment Requirements for PPMEPG330 Coordinate power generation system shutdown

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria of this unit. There must be evidence that the individual has:

coordinated planned shutdown of a power generation system at least twice in line within required enterprise intervals, and completed the following tasks after shut down:

inspected the system for maintenance requirements

completed routine maintenance when shutting down the power generation system

completed basic records for shutdown processes and maintenance requirements

followed safe working practices when shutting down the power generation system

used electronic and other control systems to control equipment during operations

communicated effectively, through written and verbal means, with others, in the work area when co-ordinating the planned shutdown of a power generation system

responded to one unplanned or emergency shutdown, which can be a real time event or by scenario, implemented responses appropriate to the cause and completed a basic report on corrective action processes.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

organisational procedures relevant to workplace health and safety with particular emphasis on:

use of personal protective equipment (PPE)

equipment lock out and isolation procedures

handling chemicals and hazardous substances, including spill and disposal guidelines

plant clearance requirements

emergency procedures and responses

job safety analysis documentation and processes

plant permit systems and processes

high risk load shifting licensing requirements where relevant

major hazard facility requirements where relevant

local power authority regulations and reporting requirements for shutting down power generation systems

power generation plant layout

purpose, features and operation of power generation and distribution systems, operating parameters and allowable variations

operation and application of electronic and other control systems

electrical isolation procedures

principles of operation of transformers and circuit protection systems

AC/DC generation principles

electrical output control and regulation principles

power factor characteristics and effects

effect of steam quality on turbine operation

operational tolerances of the turbine system and effects of operating outside these tolerances

key features and purpose of the full range of processes involved in shutting down power generation systems

types, causes and effects of, and required emergency and other responses to, unplanned power generations system shutdowns:

power outage

mechanical breakdown

blockages

jamming

air supply

control system failure

methods used to test power systems and diagnose faults

organisational procedures:

standard operating procedures (SOP) specific to power generation system shutdown

communication reporting lines

recording and reporting shutdown processes and maintenance requirements.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or a productive environment that accurately reflects performance in a workplace

resources, equipment and materials:

access to the full range of equipment involved in integrated continuous manufacturing for power generation systems in a pulp or paper manufacturing facility, including chemical products and systems:

high and low voltage transformers

steam or gas turbine driven alternators

switchboards

water systems and auxiliary plant

circuit breakers

AC/DC generation and distribution systems

analogue and digital instrumentation

PPE suitable for shutting down power generation systems

specifications:

local power authority regulations for shutting down power generation systems

maintenance schedules for power generation system

template documents for recording shutdown processes and maintenance requirements

organisational workplace health and safety and SOP for power generation system shutdown.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93