# PPMSTM201 Monitor and control boiler operations

Release: 1

PPMSTM201 Monitor and control boiler operations

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Application

This unit of competency describes the skills and knowledge required to monitor and control fire and water tube boilers, and record and report operating data to incoming operators.

The unit applies to production support operators who assist in unattended boiler operations, undertaking routine work in monitoring, identifying and solving predictable problems that occur with integrated equipment and continuous operations.

No licensing, legislative or certification requirements apply to this unit at the time of publication. This unit should not be used where the boiler equipment falls under the category for which a high risk work licence is required. Users are advised to check with the relevant regulatory authority for appropriate unit and licensing requirements.

# Pre-requisite Unit

Nil

# Unit Sector

Steam Generation (STM)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to monitor boiler operations | 1.1 Check production requirements at start of shift and plan work activities according to workplace health and safety and standard operating procedures 1.2 Identify health and safety hazards and report safety concerns 1.3 Select and fit personal protective equipment according to safety requirements 1.4 Confirm combustion processes are within operational specifications by observation and inspection 1.5 Maintain process supplies to meet production requirements 1.6 Record boiler operational performance according to workplace requirements 1.7 Communicate operational status to relevant personnel |
| 2. Undertake routine monitoring and control of boiler plant operations | 2.1 Confirm operational status by inspection and routine observation 2.2 Test water quality and adjust chemical addition according to operating procedures 2.3 Complete and record fuel efficiency calculations 2.4 Adjust boiler controls to maintain operation within specifications 2.5 Monitor and test pre-treatment systems for water 2.6 Monitor and maintain steam pressure and steam distribution systems to meet production requirements 2.7 Complete routine preventative maintenance according to maintenance schedules |
| 3. Record boiler performance and hand over boiler operations | 3.1 Record steam generation processes and data according to workplace requirements 3.2 Record and report maintenance requirements 3.3 Brief incoming operators on status of boiler operations and equipment according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret information in workplace procedures and maintenance schedules |
| Writing | Complete accurate basic records in the required format |
| Oral communication | Provide information about boiler operations using clear language and industry terminology |
| Numeracy | Interpret steam generation data and basic numerical settings on instruments and gauges involving pressures, flows and temperatures Complete routine calculations to measure ratios of boiler house chemicals and fuel efficiency Record basic numerical data for fuel efficiency and steam generation |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| PPMSTM201 Monitor and control boiler operations | PPMSTM210 Monitor and control boiler operation | Minor unit title change Changes to elements, performance criteria, foundation skills, performance evidence and knowledge evidence Assessment conditions updated | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93

Assessment Requirements for PPMSTM201 Monitor and control boiler operations

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has undertaken routine monitoring and control of boiler operations for at least two operational intervals, including for each interval:

completed the following types of tests:

low water level alarm

high water level alarm

low water level alarm lock-out

hydrostatic

burner management system

safety valve

completed routine maintenance on boiler plant

completed accurate records for the operation

communicated clear information on boiler operation status for handover.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace health and safety requirements and procedures for unattended boiler operations

permits and licensing requirements for facility hazards and high risk plant and equipment relevant to unattended boiler operations

workplace environmental sustainability requirements and practices for unattended boiler operations, including workplace biotechnological applications and processes

characteristics and dangers of steam

purpose, features and operation of fire and water tube boilers and associated fuel types and delivery systems

purpose, features and operation of steam boiler plant, operating parameters and allowable variations for fire and water tube types

operation and application of electronic and other control systems to control unattended boiler operations

key features of the full range of processes involved in controlling unattended boiler operations

methods used to maintain steam distribution systems

boiler water treatment system and reasons for treatment

data used to monitor boiler performance, including:

steam levels

pressure levels

generation levels

heat build-up

system overload information

test outcomes for water quality and chemicals

past performance records

standard operating procedures specific to unattended boiler operations

procedures for communicating, recording and reporting boiler operations, processes and faults.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a manufacturing facility or an environment that accurately reflects performance in a workplace

resources, equipment and materials:

a fire or water tube boiler

maintenance tools and equipment and consumables for boiler

electronic control systems, including digital control system, touch screens or robotics required to control boiler operations

personal protective equipment required for operating a boiler

proforma or recording system for recording data and information on unattended boiler operations

specifications:

workplace and standard operating procedures relating to unattended boiler operations, including health and safety, risks and hazards identification, plant isolation, quality, housekeeping and environmental requirements

maintenance schedules for boiler

relationships:

relevant personnel for the purposes of communicating information.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93