# PPMSTM201 Monitor and control boiler operations

Release: 1

PPMSTM201 Monitor and control boiler operations

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Application

This unit of competency describes the skills and knowledge required to monitor and control fire and water tube boilers, and record and report operating data to incoming operators.

The unit applies to production support operators who assist in unattended boiler operations, undertaking routine work in monitoring, identifying and solving predictable problems that occur with integrated equipment and continuous operations.

No licensing, legislative or certification requirements apply to this unit at the time of publication. This unit should not be used where the boiler equipment falls under the category for which a high risk work licence is required. Users are advised to check with the relevant regulatory authority for appropriate unit and licensing requirements.

# Pre-requisite Unit

Nil

# Unit Sector

Steam Generation (STM)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to monitor boiler operations | 1.1 Check production requirements at start of shift and plan work activities according to workplace health and safety and standard operating procedures 1.2 Identify health and safety hazards and report safety concerns 1.3 Select and fit personal protective equipment according to safety requirements 1.4 Confirm combustion processes are within operational specifications by observation and inspection 1.5 Maintain process supplies to meet production requirements 1.6 Record boiler operational performance according to workplace requirements 1.7 Communicate operational status to relevant personnel |
| 2. Undertake routine monitoring and control of boiler plant operations | 2.1 Confirm operational status by inspection and routine observation 2.2 Test water quality and adjust chemical addition according to operating procedures 2.3 Complete and record fuel efficiency calculations 2.4 Adjust boiler controls to maintain operation within specifications 2.5 Monitor and test pre-treatment systems for water 2.6 Monitor and maintain steam pressure and steam distribution systems to meet production requirements 2.7 Complete routine preventative maintenance according to maintenance schedules |
| 3. Record boiler performance and hand over boiler operations | 3.1 Record steam generation processes and data according to workplace requirements 3.2 Record and report maintenance requirements 3.3 Brief incoming operators on status of boiler operations and equipment according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret information in workplace procedures and maintenance schedules |
| Writing | Complete accurate basic records in the required format |
| Oral communication | Provide information about boiler operations using clear language and industry terminology |
| Numeracy | Interpret steam generation data and basic numerical settings on instruments and gauges involving pressures, flows and temperatures Complete routine calculations to measure ratios of boiler house chemicals and fuel efficiency Record basic numerical data for fuel efficiency and steam generation |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| PPMSTM201 Monitor and control boiler operations | PPMSTM210 Monitor and control boiler operation | Minor unit title change Changes to elements, performance criteria, foundation skills, performance evidence and knowledge evidence Assessment conditions updated | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93