# Assessment Requirements for PPMSTM210 Monitor and control boiler operation

Release: 2

Assessment Requirements for PPMSTM210 Monitor and control boiler operation

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has operated a boiler at least twice in line with required enterprise intervals and:

completed the following types of tests during required operational periods:

low water level alarm

high water level alarm

low water level alarm lockout

hydrostatic

burner management system

safety valve

completed routine maintenance on boiler plant

completed records for boiler operation:

operating log

fuel efficiency records

records of steam generation processes and maintenance requirements.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

organisational procedures relevant to workplace health and safety with particular emphasis on:

use of personal protective equipment (PPE)

equipment lock out and isolation procedures

handling chemicals and hazardous substances, including spill and disposal guidelines

plant clearance requirements

emergency procedures and responses

job safety analysis documentation and processes

plant permit systems and processes

high risk load shifting licensing requirements where relevant

major hazard facility requirements where relevant

characteristics and dangers of steam

boiler plant layout

purpose, features and operation of these types of boilers and associated fuel types and delivery systems:

fire tube

water tube

operating parameters and allowable variations for those boiler types

operation and application of electronic and other control systems

key features of equipment required to monitor and control boiler operations

purpose of, and processes for sampling and testing plant and system operations

methods used to maintain steam distribution systems

boiler water treatment system and reasons for treatment

data used to evaluate boiler performance including:

steam levels

pressure levels

generation levels

heat build-up

system overload information

test outcomes for water quality and chemicals

past performance records

organisational procedures including:

standard operating procedures (SOP)  specific to boiler operations

communication reporting lines

recording and reporting steam generation processes and maintenance requirements.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or a productive environment that accurately reflects performance in a workplace

resources, equipment and materials:

a boiler which can be fire or water tube type

fully automated, semi-automated, manually operated plant and equipment required for boiler operation in a pulp or paper manufacturing facility

maintenance tools and equipment and consumables for boiler maintenance

PPE suitable for operating a boiler

specifications:

maintenance schedules for boiler

template documents including operating log, fuel efficiency records, documents for recording steam generation processes and maintenance requirements

organisational workplace health and safety and SOP.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93