# PPMSTM210 Monitor and control boiler operation

Release: 2

PPMSTM210 Monitor and control boiler operation

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Application

This unit of competency describes the skills and knowledge required to operate, monitor and maintain boilers, record and report operating data and handover to incoming operators.

The unit applies to production support operators who monitor and control boiler operation in a pulp or paper manufacturing facility. This typically involves working in a facility with complex integrated equipment and continuous operations.

No licensing, legislative or certification requirements apply to this unit at the time of publication. Where the boiler equipment falls under the category for which a High Risk Work Licence is required, this unit should not be used and the appropriate unit should be sought.

# Pre-requisite Unit

Nil

# Unit Sector

Steam generation (STM)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Confirm operational status | 1.1 Check production requirements at start of shift and plan to carry out daily work activities following workplace health and safety and standard operating procedures (SOP) 1.2 Confirm combustion processes are within operational specifications by observation and inspection 1.3 Maintain process supplies to meet production requirements 1.4 Record boiler performance in operational log 1.5 Communicate operational status to relevant personnel 1.6 Select, fit, use and maintain personal protective equipment according to job requirements and task to be undertaken |
| 2. Monitor and control boiler plant operation | 2.1 Confirm operational status by inspection and routine observation 2.2 Test water quality and adjust chemical addition according to organisational procedures 2.3 Complete and record fuel efficiency calculations 2.4 Adjust boiler controls to maintain operation within specifications 2.5 Monitor and test pre-treatment systems for water 2.6 Monitor and maintain steam pressure and steam distribution systems to meet production requirements 2.7 Complete routine preventative maintenance in line with maintenance schedules |
| 3. Record boiler performance and handover boiler operations | 3.1. Record steam generation processes and data in operating log 3.2. Record and report maintenance requirements 3.3. Maintain operational boiler records in line with organisational procedures and statutory requirements 3.4. Brief incoming boiler operators on status of boiler operations and equipment in line with organisational procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret workplace health and safety and SOP |
| Writing | Complete accurate basic records for steam generation processes and maintenance requirements. |
| Numeracy | Interpret basic numerical settings on instruments and gauges involving pressures, flows and temperatures Complete routine calculations to measure ratios of boiler house chemicals and fuel efficiency Monitor, assess and interpret steam generation data Record basic numerical data for fuel efficiency and steam generation |
| Interact with others | Provide clear basic information about operational status of boiler |
| Get the work done | Use and assess sensory information (sight, sound, touch, smell, vibration, temperature) to adjust process to maximise safety and productivity |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| PPMSTM210 Monitor and control boiler operation Release 2 | PPMSTM210 Monitor and control boiler operation Release 1 | Performance criteria added, minor changes to knowledge evidence, minor change to licensing statement | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93