# PPMSTM320 Manage steam boiler start up

Release: 2

PPMSTM320 Manage steam boiler start up

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Application

This unit of competency describes the skills and knowledge required to plan, prepare, manage and report on steam boiler startups, in the pulp and paper industry.

This unit applies to production operators and technicians who manage steam boiler startups, in a pulp and paper manufacturing facility. This typically involves working in a facility with complex integrated equipment and continuous operations.

No licensing, legislative or certification requirements apply to this unit at the time of publication. Where the boiler equipment falls under the category for which a High Risk Work Licence is required, this unit should not be used and the appropriate unit should be sought.

# Pre-requisite Unit

Nil

# Unit Sector

Steam generation (STM)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Conduct pre-operational safety checks | 1.1 Confirm plant status and boiler types through inspections, observation and other information 1.2 Plan and carry out boiler startup activities according to productivity requirements, environmental sustainability requirements, workplace health and safety and standard operating procedures including use of personal protective equipment and housekeeping requirements 1.3 Identify and report potential work area hazards and implement control measures 1.4 Establish work and output requirements 1.5 Conduct pre operational and safety checks on equipment 1.6 Remove isolations 1.7 Confirm availability of process supplies |
| 2. Conduct startup procedures | 2.1 Establish pre-light conditions 2.2 Start boiler and bring on-line 2.3 Monitor boiler condition during startup to detect abnormal conditions 2.4 Observe system and plant for correct operational response 2.5 Detect deviations from required operating conditions and rectify using corrective action |
| 3. Record and report startup activities | 3.1 Document responses to corrective actions 3.2 Record and report on startup information according to organisational procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Read and interpret documentation, procedure manuals and customer orders relevant to steam boilers |
| Writing | Record startup activities accurately and legibly, using correct technical vocabulary |
| Numeracy | Interpret instruments, gauges and data recording equipment Use measuring equipment |
| Navigate the world of work | Use electronic and other control systems to control equipment and processes Access, navigate and enter computer based information |
| Interact with others | Select and use appropriate spoken communication strategies with work colleagues and other personnel on site to manage steam boiler startup |
| Get the work done | Maintain situational awareness in the work area Analyse and use sensory information to adjust process to maintain and coordinate safety, quality and productivity |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| PPMSTM320 Manage steam boiler startup Release 2 | PPMSTM320 Manage steam boiler startup Release 1 | Minor changes to performance criteria and knowledge evidence, minor change to licensing statement | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93

Assessment Requirements for PPMSTM320 Manage steam boiler start up

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has:

managed a steam boiler startup, at least twice in line with required enterprise intervals

checked, set up and started the boiler within an appropriate time frame

implemented isolation and access procedures

identified and actioned problems

identified and monitored process control points

maintained a clean and hazard free work area

recorded and reported on operational data

communicated effectively, through written and verbal means, and working safely with others, in the work area.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

organisational procedures relevant to workplace health and safety with particular emphasis on:

use of personal protective equipment (PPE)

equipment lock out and isolation procedures

handling chemicals and hazardous substances, including spill and disposal guidelines

plant clearance requirements

emergency procedures and responses

job safety analysis documentation and processes

plant permit systems and processes

high risk load shifting licensing requirements where relevant

major hazard facility requirements where relevant

implications of pre operational checks including:

low water level alarm

high water level alarm

low water level

alarm lockout

hydrostatic test

burner management system

safety valve test

documentation and procedures relevant to steam boiler startups, in the pulp and paper industry including:

appropriate boiler/pressure vessel operator certification

confined space standards and regulations

productivity requirements

quality procedures

standard operating procedures (SOP)

environmental sustainability requirements and practices

machinery and plant manufacturing operating manuals

enterprise policies and procedures

job sheets and operator’s log

manufacturer’s specifications and maintenance documentation

safety data sheets

incidents reports

the use of materials and supplies for boiler startups including:

chemicals

coal

oil

gas

additives

air

water

wood waste

steam recovery process products

power

maintenance systems including:

operator level maintenance egies as per site agreements

operator maintenance schedules

maintenance suppliers

pro-active maintenance strat

processes, layout and associated services relevant to steam generation plant and sufficient to carry out startup activities within level of responsibility

boiler water treatment system and reasons for treatment

electronic and other control systems, operation and application to make appropriate adjustments that control steam generation systems.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or a productive environment that accurately reflects performance in a workplace

resources, equipment and materials:

access to the full range of equipment required to start up steam boiler operations in a pulp or paper manufacturing facility

electronic control systems which includes digital control system, touch screens or robotics required for steam boiler startup

PPE suitable for managing a steam boiler startup

specifications:

applicable workplace health and safety and isolation work place procedures, environmental guidelines and safe working requirements, risks and hazard identification and workplace housekeeping requirements

sample workplace documentation, procedures and reports including SOP, quality procedures, environmental sustainability requirements/practices, plant manufacturing operating manuals, enterprise policies and procedures, oil or chemical spills and disposal guidelines, plant isolation documentation, safe work documentation.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93