# Assessment Requirements for PPMSTM330 Shut down and bank steam boiler

Release: 2

Assessment Requirements for PPMSTM330 Shut down and bank steam boiler

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has:

coordinated planned shutdowns of a steam boiler, at least twice in line with required enterprise intervals, and completed the following tasks after shutdown:

inspected the boiler and completed routine preventative maintenance

cleaned the boiler internally and externally

analysed stored boiler water and chemicals

completed basic records for shutdown processes and maintenance requirements

responded to unplanned or emergency shutdowns, which can be a real time event or by scenario, and implemented responses appropriate to the cause and completed a basic report on corrective action processes.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

organisational procedures relevant to workplace health and safety with particular emphasis on:

use of personal protective equipment (PPE)

equipment lock out and isolation procedures

handling chemicals and hazardous substances, including spill and disposal guidelines

plant clearance requirements

emergency procedures and responses

job safety analysis documentation and processes

plant permit systems and processes

high risk load shifting licensing requirements where relevant

major hazard facility requirements where relevant

boiler plant layout

purpose, features and operation of these types of boilers and associated fuel types and delivery systems:

fire tube

water tube

operation and application of electronic and other control systems

boiler water treatment system and reasons for treatment

purpose of, and processes for analysing stored boiler water and chemicals

key features and purpose of equipment required to shut down and store a steam boiler

types, causes and effects of, and required emergency and other responses to, unplanned boiler shutdowns:

power outage

mechanical breakdown

blockages

jamming

air supply

control system failure

methods used to:

test boiler operations and diagnose faults

clean boilers internally and externally

organisational procedures:

standard operating procedures (SOP) specific to boiler shutdown

communication reporting lines

recording and reporting shutdown processes and maintenance requirements.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or a productive environment that accurately reflects performance in a workplace

resources, equipment and materials:

a boiler which can be fire or water tube type

fully automated, semi-automated, manually operated plant and equipment required for shutting down boiler operation in a pulp or paper manufacturing facility

testing equipment for boiler water and chemicals

maintenance tools and equipment and consumables for boilers

PPE suitable for maintaining and shutting down a boiler

specifications:

template documents for recording shutdown processes and maintenance requirements

organisational workplace health and safety and SOPs for boiler shutdown.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93