# Assessment Requirements for PPMSTM401 Troubleshoot and rectify boiler plant systems

Release: 1

Assessment Requirements for PPMSTM401 Troubleshoot and rectify boiler plant systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has carried out troubleshooting and rectification activities for boiler plant systems on at least two occasions according to operational requirements, including for each occasion:

selected and used appropriate troubleshooting methods to correct plant and equipment faults

identified causes and effects of faults, and corrective action on associated processes

identified and rectified faults in plant and equipment

communicated effectively and worked safely with others when undertaking troubleshooting and rectification activities

completed accurate records on troubleshooting and rectification activities and actions undertaken.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace and legislative health and safety requirements and risk measures relevant to operating, troubleshooting and rectifying boiler plant systems, including emergency procedures, handling chemical and hazardous substances, high risk load shifting, licensing requirements, plant clearance and permit systems

relevant workplace and legislative environmental sustainability requirements and practices for boiler operations, including workplace biotechnological applications and processes considerations for troubleshooting and rectification activities

troubleshooting methods that can be applied across boiler plant system faults

types and implications of pre-operational checks

manufacturer specifications and operating procedures for boiler plant and equipment, including shutdown and isolation procedures

steam generation system, processes and associated services, including:

plant layout

theory of operation

causes and effects of adjustments made to steam generation plant and processes

relationships between steam generation system, processes and associated services

use of materials and supplies for boiler plant systems

use of boiler water treatment system and reasons for treatment

use of electronic and other control systems, operation and application to make appropriate adjustments that control boiler plant operations.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a manufacturing facility or an environment that accurately represents workplace conditions

resources, equipment and materials:

boiler plant and system

tools, equipment and materials used to troubleshoot and rectify boiler plant operations

electronic control systems that include digital control system, touch screens or robotics required for boiler plant operations

personal protective equipment required for troubleshooting boiler plants systems

proforma or recording system for recording diagnostic and corrective action processes

specifications:

workplace and standard operating procedures relating to troubleshooting and rectifying boiler plants systems, including health and safety, environmental, risks and hazards identification, plant isolation and quality requirements

plant manufacturing operating manuals

relationships:

relevant personnel for the purposes of communicating information.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93