# Assessment Requirements for PPMSTM440 Troubleshoot and rectify boiler plant systems

Release: 2

Assessment Requirements for PPMSTM440 Troubleshoot and rectify boiler plant systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has:

identified causes and effects of faults and corrective action on associated processes for the boiler plant system, at least twice in line with required enterprise intervals

identified system quality and equipment faults within level of responsibility

implemented isolation and access procedures

identified and rectified faults in boiler plant systems

maintained a clean and hazard free work area

recorded and reported on operational data

communicated effectively, through written and verbal means, the corrective actions undertaken.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

organisational procedures relevant to workplace health and safety with particular emphasis on:

use of personal protective equipment (PPE)

equipment lock out and isolation procedures

handling chemicals and hazardous substances, including spill and disposal guidelines

plant clearance requirements

emergency procedures and responses

job safety analysis documentation and processes

plant permit systems and processes

high risk load shifting licensing requirements where relevant

major hazard facility requirements where relevant

troubleshooting methods that can be applied across boiler plant system faults

implications of pre operational checks including:

low water level alarm

high water level alarm

low water level

alarm lockout

hydrostatic test

burner management system

safety valve test

documentation and procedures relevant to troubleshooting steam boiler operations, in the pulp and paper industry including:

appropriate boiler or pressure vessel operator certification

confined space standards and regulations

productivity requirements and quality procedures

environmental sustainability requirements and practices

machinery and plant manufacturing operating manuals

enterprise policies and procedures

manufacturer's specifications and maintenance documentation

safety data sheets

operator's log and job sheets

incidents reports

steam generation system, processes and associated services sufficient to troubleshoot including:

plant layout

theory of operation

causes and effects of adjustments made to steam generation plant and processes

relationships between steam generation system, processes and associated services

the use of materials and supplies for boiler plant systems including:

chemicals

coal

oil

gas

additives

air

water

wood waste

steam recovery process products

power

key features of maintenance systems including:

operator level maintenance as per site agreements

operator maintenance schedules

maintenance suppliers

pro-active maintenance strategies

use of boiler water treatment system and reasons for treatment

use of electronic and other control systems, operation and application to make appropriate adjustments that control boiler plant operations.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or a productive environment that accurately reflects performance in a workplace

resources, equipment and materials:

access to the full range of equipment required for detecting and addressing faults associated with steam generation operations in a pulp or paper manufacturing facility

electronic control systems which includes digital control system, touch screens or robotics required for steam boiler operation

PPE suitable for troubleshooting steam boiler operations

specifications:

applicable workplace health and safety and isolation work place procedures, environmental guidelines and safe working requirements, risks and hazard identification and workplace housekeeping requirements

sample workplace documentation, procedures and reports including standard operating procedures, quality procedures, environmental sustainability requirements/practices, plant manufacturing operating manuals, enterprise policies and procedures, oil or chemical spills and disposal guidelines, plant isolation documentation, safe work documentation.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93