# PPMWAS210 Operate water systems

Release: 2

PPMWAS210 Operate water systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Application

This unit of competency describes the skills and knowledge required to check, monitor, operate and shut down water systems, in a pulp or paper manufacturing facility.

The unit applies to production operators and technicians who start up, monitor and operate water systems. This typically involves working in a facility with complex integrated equipment and continuous operations.

No licensing, legislative, regulatory, or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Water service (WAS)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Conduct local inspections and pre-operational safety checks | 1.1 Check plant and equipment according to productivity requirements, environmental sustainability procedures, workplace health and safety and standard operating procedures (SOP), risks and hazards identification and housekeeping requirements 1.2 Remove isolations 1.3 Confirm availability of materials and supplies for water system 1.4 Determine plant status and requirements 1.5 Confirm sequencing for plant startup 1.6 Select, fit, use and maintain personal protective equipment according to job requirements and task to be undertaken |
| 2. Start up water systems | 2.1 Start up water system according to SOPs 2.2 Observe the water system for correct start up operational response 2.3 Detect startup variation conditions and take corrective action |
| 3. Monitor and control water systems | 3.1 Monitor the operation of the water system through routine checks 3.2 Take water samples and test to maintain quality according to organisational procedures 3.3 Identify variations from operational parameters 3.4 Restore water system to standard operational parameters 3.5 Conduct operator level maintenance, according to organisational procedures |
| 4. Conduct a water system shutdown | 4.1 Confirm shutdown plan and communicate to relevant personnel 4.2 Implement shutdown procedures 4.3 Leave plant in a safe condition for isolation, as required |
| 5. Respond to an unplanned shutdown | 5.1 Identify the cause of shutdown and action according to organisational procedures 5.2 Complete sequence for shutdown of systems, in the plant 5.3 Communicate action taken to relevant personnel 5.4 Leave plant in a safe condition for isolation |
| 6. Record and report water systems information | 6.1 Record water systems information 6.2 Record problems and related action and communicate to relevant personnel |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Read and interpret documentation, procedures and reports |
| Writing | Record log sheet entries, incident reports and system faults |
| Numeracy | Interpret instruments, gauges and data recording equipment |
| Navigate the world of work | Use electronic and other control systems to control equipment and processes Access, navigate and enter computer based information for operation of water systems |
| Interact with others | Select and use appropriate spoken communication strategies with work teams and other personnel on site, when operating water systems |
| Get the work done | Maintain situational awareness in the work area Analyse and use sensory information to adjust process to maintain and coordinate safety, quality and productivity |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| PPMWAS210 Operate water systems Release 2 | PPMWAS210 Operate water systems Release 1 | Performance criteria added, minor changes to knowledge evidence | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93

Assessment Requirements for PPMWAS210 Operate water systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has:

inspected, started up and monitored water systems, at least twice in line with required enterprise intervals, and conducted required testing and sampling to maintain optimum production capacity

followed safe working practices when operating water systems

responded to planned and unplanned shutdowns with water systems

used electronic and other control systems to control equipment during operations

communicated effectively, through written and verbal means, with others, in the work area when operating water systems.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

organisational procedures relevant to workplace health and safety with particular emphasis on:

use of personal protective equipment (PPE)

equipment lock out and isolation procedures

handling chemicals and hazardous substances, including spill and disposal guidelines

plant clearance requirements

emergency procedures and responses

job safety analysis documentation and processes

plant permit systems and processes

high risk load shifting licensing requirements where relevant

major hazard facility requirements where relevant

workplace documentation and procedures relevant to water systems, in the pulp and paper industry and covering:

standard operating procedures (SOP) and housekeeping procedures for plant manufacturing, including confined space requirements

production instructions including maintenance logs, job sheets and operating logs

quality procedures and environmental sustainability requirements and practices

process for plant shutdowns and unplanned shutdowns

safety data sheets

impact of different types of water sources including raw, mains or recycled water on water systems

appropriateness of sampling and testing checks for:

sludge consistency

pH

conductivity

flocculation

colour

suspended solids

caustic strength

alkalinity

impurities

brine

bacteria

colour

acid strength

operating parameters, variation and associated adjustments for water system, plant, processes, layout and associated services, sufficient to carry out start up and shutdown activities

required responses to all unplanned shutdowns, including:

power outage

mechanical breakdown

blockages

jamming

air supply

control system failure, to ensure safety quality and productivity

purpose, standards and procedures as per site agreements for sampling and testing process for plant and system operations, and process monitoring

implications of the use of water types including:

fresh water

treated water

de-mineralised water

softened water

filtrate-clarified water

potable water

dilution water (filtrate) ex-vacuum system

waste water (effluent)

white water (ex-machine)

cloudy water, on water systems

how to identify and respond to hazards and risks of water systems including:

confined space

biological hazards and environmental hazards

heat, height and slippery surfaces

pressures, fumes and electrical equipment

compressed air, nip points and flooding

key features of maintenance systems including:

operator level maintenance as per site agreements

operator maintenance schedules

maintenance suppliers

pro-active maintenance strategies

use of equipment and electronic and other control systems, operation and application to make appropriate adjustments that control the water system within level of responsibility

productivity requirements including:

energy efficiency

waste minimisation

evaporation minimisation

landfill and waste water reduction

consideration of resource utilisation including:

fibre efficiency

minimising delays

chemical recovery maximisation

line speed

handovers

water systems including:

de-alkalinisation plant

de-mineralisation plant

water softening plant

chemical treatment plant

reverse osmosis plant

clarifier plant chillers

water storage systems

filtration systems

cooling towers

condensers

potable water plant

materials and supplies including chemicals and filtering mediums.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or a productive environment that accurately reflects performance in a workplace

resources, equipment and materials:

access to the full range of equipment required to operate water systems in a pulp or paper manufacturing facility

test and diagnostic equipment

PPE required for operating water systems

specifications:

template operating log and documents for recording operation of the water system and maintenance requirements

organisational workplace health and safety and SOPs.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93