# PPMWAS301 Operate water systems

Release: 1

PPMWAS301 Operate water systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Application

This unit of competency describes the skills and knowledge required to prepare for, start up, monitor and shut down water systems used for pulp and/or paper manufacturing operations.

The unit applies to production operators who operate water systems in a pulp and/or paper manufacturing facility and respond to contingencies that occur when working with complex integrated equipment and continuous operations.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Water Service (WAS)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to operate water systems | 1.1 Identify production requirements to plan system operations and processes 1.2 Identify workplace health and safety hazards, assess risks and determine control measures 1.3 Identify process control points according to production specifications 1.4 Confirm availability of materials and supplies for water system 1.5 Select, fit and use personal protective equipment according to job requirements and task to be undertaken 1.6 Communicate production requirements and specifications, workplace health and safety and environmental requirements and operating procedures to relevant personnel 1.7 Select, fit, use and maintain personal protective equipment according to job requirements and task to be undertaken 1.8 Communicate production requirements and specifications, workplace health and safety and environmental requirements and operating procedures to relevant personnel |
| 2. Inspect and start up water systems | 2.1 Inspect and conduct pre-occupational safety checks on water systems 2.2 Remove isolations according to operating procedures 2.3 Start up water system according to workplace health and safety and operating processes 2.4 Observe the water system to confirm start-up operational response 2.5 Detect start-up variation conditions and rectify common faults or refer complex faults to specialist technician |
| 3. Monitor and control water systems | 3.1 Confirm system functions through routine checks 3.2 Take water samples and test to maintain quality according to operational parameters 3.3 Identify variations from operational parameters 3.4 Restore water system to standard operational parameters 3.5 Conduct operator-level maintenance according to operating procedures |
| 4. Conduct water system shutdown | 4.1 Coordinate and communicate planned shutdown of water system to relevant personnel 4.2 Manage system shutdown according to productivity, workplace health and safety and environmental requirements and operating procedures 4.3 Implement isolation requirements according to operating and housekeeping procedures |
| 5. Respond to unplanned shutdown | 5.1 Respond to unplanned faults and stoppages according to operating, emergency and workplace health and safety procedures 5.2 Complete shutdown and isolation according to operating procedures 5.3 Locate and rectify cause of unplanned shutdown within area of responsibility 5.4 Communicate shutdown information to relevant personnel |
| 6. Record and report water systems information | 6.1 Record water systems information according to workplace requirements 6.2 Report problems and related action to relevant personnel |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret information from workplace procedures and documentation |
| Writing | Complete records accurately and legibly using clear language and industry terminology |
| Oral communication | Provide information about start-up and shutdown operations, problems or variations with production, quality and system using clear language and industry terminology |
| Numeracy | Interpret numerical settings on instruments, gauges and data recording equipment Record numerical data for system and operational performance |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| PPMWAS301 Operate water systems | PPMWAS210 Operate water systems | Changes to elements, performance criteria, foundation skills, performance evidence and knowledge evidence Assessment conditions updated | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93

Assessment Requirements for PPMWAS301 Operate water systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has planned for, coordinated, and safely started up and shut down a water system for at least two operational intervals, including for each operational interval:

determined and monitored process control points

monitored, assessed causes and adjusted system to rectify variations from specifications and unplanned shutdown

used and interpreted electronic control systems during operation

recorded and reported accurate operational data

conducted operator-level maintenance on system

communicated effectively and worked safely with others when operating water system.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace and legislative health and safety requirements relevant to operating water systems, including emergency procedures, handling chemical and hazardous substances, high risk load shifting, licensing requirements, plant clearance and permit systems

relevant workplace and legislative environmental sustainability requirements and practices for operating water systems, including workplace biotechnological applications and processes

methods used to identify and manage hazards and risks that apply to operating water systems

types of water systems and processes, plant layout and associated services relevant to carrying out start-up, and shutdown activities

standard operating procedures specific to water systems

types and impact of different types of water sources, including raw, mains or recycled water, on water systems

purpose of, standards and processes for sampling and testing water quality, plant and system operations, and process monitoring

purpose and requirements of operator-level maintenance schedules

methods used to monitor water system operations against specified system parameters

effect of process adjustments on product quality and productivity during operation

application of electronic and other control systems used to operate, control and make appropriate adjustments to water systems

causes of and responses used for unplanned shutdowns of water systems

procedures for communicating, recording and reporting system operation, production outcomes and equipment faults.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a pulp and/or paper manufacturing facility or an environment that accurately represents workplace conditions

resources, equipment and materials:

water system, equipment and consumables required to operate water system

test and diagnostic equipment

personal protective equipment required for operating water systems

proforma or recording system for recording system and production data and information

specifications:

workplace and standard operating procedures relating to water system operations, including health and safety, risks and hazards identification, plant isolation, quality, housekeeping and environmental requirements

maintenance schedule for water system

relationships:

relevant personnel for the purposes of communicating information.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93