# PPMWAS340 Troubleshoot and rectify water systems

Release: 2

PPMWAS340 Troubleshoot and rectify water systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Application

This unit of competency describes the skills and knowledge required to identify, diagnose, rectify and report faults in water systems, in the pulp and paper industry.

The unit applies to senior operators and production specialists who manage troubleshoot and rectify water systems, in a pulp or paper manufacturing facility. This typically involves working in a facility with complex integrated equipment and continuous operations.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Water service (WAS)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Identify and analyse causes of faults | 1.1 Check work plan and carry out according to productivity requirements, environmental sustainability procedures, workplace health and safety and standard operating procedures, risks and hazards identification, and housekeeping requirements 1.2 Check availability of materials and supplies 1.3 Use alarms and visual checks on water systems to determine fault type. 1.4 Interpret sampling and testing results to identify deviations from specifications 1.5 Use an appropriate analysis to identify and locate cause and source of problem 1.6 Access relevant sources of information to assist analysis 1.7 Select, fit, use and maintain personal protective equipment according to job requirements and task to be undertaken |
| 2. Rectify plant and equipment faults | 2.1 Shutdown equipment and implement isolation procedures, prior to fault rectification 2.2 Identify, repair or replace faulty equipment 2.3 Adjust process and carry out operator level maintenance 2.4 Return plant and equipment to normal operations 2.5 Verify restoration to normal operations and communicate to relevant personnel |
| 3. Rectify water quality faults | 3.1 Identify quality faults or variations by observation, systematic sampling and testing 3.2 Take samples for tests to detect quality faults 3.3 Interpret test results and make operational adjustments, according to organisational procedures 3.4 Rectify faults or recommend further action 3.5 Action out-of-specification water |
| 4. Record and report operational data | 4.1 Document variations from specifications and performance variations, according to organisational procedures 4.2 Record causes of deviation and corrective action undertaken 4.3 Communicate relevant information to appropriate personnel |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Read and interpret documentation, procedure manuals and test results relevant to water systems |
| Writing | Record accurately and legibly, fault rectifications, using correct technical vocabulary Access, navigate and enter computer based information |
| Oral communication | Use appropriate spoken communication strategies with work colleagues and other personnel, on site to assist with analysis and resolution of operational problems and to manage troubleshooting and maintenance |
| Numeracy | Interpret instruments, gauges and data recording equipment |
| Navigate the word of work | Use electronic and other control systems to control equipment and processes |
| Get the work done | Maintain situational awareness in the work area Analyse and use sensory information to adjust process to maintain and coordinate safety, quality and output |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| PPMWAS340 Troubleshoot and rectify water systems Release 2 | PPMWAS340 Troubleshoot and rectify water systems Release 1 | Performance criteria added, minor changes to knowledge evidence | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93

Assessment Requirements for PPMWAS340 Troubleshoot and rectify water systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 2.0. |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has:

carried out troubleshooting and rectification activities for water systems, at least twice, in line with required enterprise intervals

selected and used appropriate troubleshooting methods to correct water system, water quality and equipment faults

responded to the causes and impacts of unplanned shutdowns and processes and taking corrective action

implemented isolation and access procedures prior to fault rectification

maintained a clean and hazard free work area and following safety chemical handling procedures

reported on operational and rectification data

used safety accessories, including protective and high visibility, safety clothing and electronic communication equipment when working with water systems

communicated effectively, through written and verbal means, the corrective actions undertaken.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

organisational procedures relevant to workplace health and safety with particular emphasis on:

use of personal protective equipment (PPE)

equipment lock out and isolation procedures

handling chemicals and hazardous substances, including spill and disposal guidelines

plant clearance requirements

emergency procedures and responses

job safety analysis documentation and processes

plant permit systems and processes

high risk load shifting licensing requirements where relevant

major hazard facility requirements where relevant

troubleshooting methods that can be applied across problem faults in water systems

documentation and procedures relevant to water systems, in the pulp and paper industry and including:

standard operating procedures (SOP), housekeeping and risk and hazard identification

productivity requirements and quality procedures

environmental sustainability requirements and practices

machinery and plant manufacturing operating manuals

enterprise policies and procedures

manufacturer’s specifications and maintenance documentation

safety data sheets

process and instrument diagrams

operator’s log and job sheets and maintenance logs

incidents reports

impact of different types of water sources including raw, mains or recycled water on water systems

use of sampling and testing checks including:

consistency

pH

conductivity

flocculation

colour

suspended solids

caustic strength

alkalinity

impurities

brine

bacteria

colour

acid strength

key features of water systems, processes and associated services sufficient to troubleshoot including:

plant layout

theory of operation

causes and effects of adjustments made to water system and processes

relationships between water system, processes and associated services

implications of the use of water types including:

fresh water

treated water

de-mineralised water

softened water

filtrate-clarified water

potable water

dilution water (filtrate) ex-vacuum system

waste water (effluent)

white water (ex-machine)

cloudy water, on water systems

how to identify and respond to hazards and risks of water systems including:

confined space

hazardous chemicals and materials

biological hazards and environmental hazards

heat, height and slippery surfaces

pressures, fumes and electrical equipment

compressed air, nip points and flooding

key features of maintenance systems including:

operator level maintenance as per site agreements

operator maintenance schedules

maintenance suppliers

pro-active maintenance strategies including Total Productive Maintenance and Reliability Centred Maintenance

use of electronic and other control systems, operation and application to make appropriate adjustments that control the water system

materials and supplies including chemicals and filtering mediums

water systems including:

de-alkalinisation plant

de-mineralisation plant

water softening plant

chemical treatment plant

reverse osmosis plant

clarifier plant

chillers

water storage systems

filtration systems

cooling towers

Condensers

potable water plant

equipment including:

flow control and metering devices

pumping systems

electronic and digital monitoring and metering

valving systems

pipes

fittings

chemical testing and analysis equipment

chemical dosing equipment

tanks and chests

communication equipment

aeration ponds

chemical handling equipment

hand and power tools

pest control equipment

load shifting equipment

computer systems

electronic screens and alarms

process control systems

fully automated, semi-automated, manually operated plant and equipment appropriate to water processes and systems.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or a productive environment that accurately reflects performance in a workplace

resources, equipment and materials:

access to the full range of troubleshooting equipment involved in maintaining integrated continuous operation of water systems in a pulp or paper manufacturing facility

PPE required for operating water systems

specifications:

sample workplace documentation, procedures and reports including SOPs, quality procedures, environmental sustainability requirements or practices, plant manufacturing operating manuals, enterprise policies and procedures, oil or chemical spills and disposal guidelines, plant isolation documentation, safe work documentation.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93