# PPMWAS401 Troubleshoot and rectify water systems

Release: 1

PPMWAS401 Troubleshoot and rectify water systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Application

This unit of competency describes the skills and knowledge required to identify, diagnose, rectify and report on system and water quality faults in water systems used in the pulp and/or paper manufacturing industry.

The unit applies to senior operators and production specialists who work in the pulp and paper manufacturing industry and troubleshoot and rectify complex water systems used in continuous operations.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Water Service (WAS)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Identify and analyse causes of system and quality faults | 1.1 Prepare for rectification of water system according to operational requirements and workplace health and safety and environmental procedures 1.2 Identify safety hazards and determine risk control measures with relevant personnel 1.3 Conduct visual checks on water systems and interpret warning devices to determine fault type 1.4 Conduct systemic sampling and testing to identify quality faults and deviations from specifications 1.5 Access and interpret relevant sources of information, and check for recent work undertaken to assist analysis 1.6 Analyse collected information to locate cause and source of problem 1.7 Report fault and proposed corrective actions to relevant personnel |
| 2. Rectify plant and equipment faults | 2.1 Shut down and isolate system according to operating procedures 2.2 Identify and repair or replace faulty equipment as required 2.3 Adjust process and carry out operator-level maintenance 2.4 Return plant and equipment to normal operations 2.5 Verify and communicate restoration to normal operations to relevant personnel |
| 3. Rectify water quality faults | 3.1 Conduct further testing and interpret results to determine required operational adjustments 3.2 Rectify faults or recommend further action according to operating procedures 3.3 Take action to remedy out-of-specification water |
| 4. Record and report troubleshooting and rectification activities | 4.1 Document variations from specifications and performance variations according to workplace requirements 4.2 Record and report diagnostic and corrective action processes to relevant personnel |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret information from a range of documentation and test results |
| Writing | Complete accurate detailed records and reports for system and product faults, diagnostic and corrective action processes using the required format |
| Oral communication | Provide comprehensive information about problems with equipment and products using clear language and industry terminology Provide clear, unambiguous information about return to normal operations to system operators and other personnel |
| Numeracy | Interpret numerical settings on instruments, gauges and data recording equipment Interpret system and product data Record detailed numerical data for system and product test results Use measuring equipment to measure and inform calculations |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| PPMWAS401 Troubleshoot and rectify water systems | PPMWAS340 Troubleshoot and rectify water systems | Changes to elements, performance criteria, foundation skills, performance evidence and knowledge evidence Assessment conditions updated | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93

Assessment Requirements for PPMWAS401 Troubleshoot and rectify water systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has carried out troubleshooting and rectification activities for water systems on at least two occasions according to operational requirements, including for each occasion:

selected and used appropriate troubleshooting methods and testing methods to identify water system, water quality and equipment faults

diagnosed causes and sources of faults on system and associated processes

identified and taken timely corrective action to rectify and maximise safety, quality and productivity

communicated effectively and worked safely with others when undertaking troubleshooting and rectification activities

completed accurate detailed records for system and water quality faults, diagnostic and corrective action processes on completion of fault rectification activity.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace and legislative health and safety requirements and risk measures relevant to operating, troubleshooting and rectifying water systems, including emergency procedures, handling chemical and hazardous substances, high risk load shifting, licensing requirements, plant clearance and permit systems

relevant workplace and legislative environmental sustainability requirements and practices for water system operations, including workplace biotechnological applications and processes considerations for troubleshooting and rectification activities

troubleshooting methods that can be applied across problem faults in water systems

manufacturer specifications and operating procedures for water system and equipment, including shutdown and isolation procedures

impact of different types of water sources, including raw, mains or recycled water, on water systems

use of sampling and testing checks for water quality

types and key features of water systems, processes and associated services sufficient to troubleshoot, including:

plant layout

theory of operation

causes and effects of adjustments made to water system and processes

relationships between water system, processes and associated services

implications of the use of water types

identification and response to hazards and risks of water systems including compressed air, nip points and flooding

materials and supplies used in water systems, including chemicals and filtering mediums

fully automated, semi-automated and manually operated plant and equipment appropriate to water processes and systems.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a pulp and/or paper manufacturing facility or an environment that accurately represents workplace conditions

resources, equipment and materials:

tools, equipment and materials used to troubleshoot and repair water systems

personal protective equipment required when working with water systems

specifications:

workplace and standard operating procedures relating to troubleshooting and rectifying water systems, including health and safety, environmental, risks and hazards identification, plant isolation and quality requirements

manufacturer specifications and operating procedures

relationships:

relevant personnel for the purposes of communicating information.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93