# PRM30406 Certificate III in Asset Maintenance (Fire Protection Equipment)

Release: 1

PRM30406 Certificate III in Asset Maintenance (Fire Protection Equipment)

# Modification History

Not Applicable

# Description

Not Applicable

# Pathways Information

Not Applicable

# Licensing/Regulatory Information

Not Applicable

# Entry Requirements

Not Applicable

# Employability Skills Summary

Not Applicable

# Packaging Rules

To achieve Certificate III the candidate must have demonstrated competence in all 9 core units and 7 elective units for Certificate III of which:

3 units are selected from the Certificate II elective units bank

3 units are selected from the Group A elective units bank

1 unit is selected from the Group B elective units bank.

Total units required for this qualification is 16.

| Core units |  |
| --- | --- |
| PRMCMN301A | Contribute to workplace safety arrangements |
| PRMCMN402A | Facilitate effective client relationships |
| PRMPFES03C | Safely move materials and loads in the workplace |
| PRMPFES04B | Identify fire protection equipment |
| PRMPFES05B | Use portable firefighting equipment |
| PRMPFES06C | Prepare for installation and servicing operations |
| PRMPFES07B | Maintain quality of work and promote continuous improvement |
| PRMPFES22B | Oversee operations to meet safety and quality standards |
| PRMPFES32A | Work effectively in the fire protection industry |
| Group A elective units |  |
| PRMPFES24B | Inspect and maintain portable foam generating equipment |
| PRMPFES25C | Inspect, test and maintain gaseous fire suppression systems |
| PRMPFES26B | Inspect, test and maintain emergency/exit lighting systems |
| PRMPFES27B | Inspect, test and maintain pre-engineered aqueous fire suppression systems |
| PRMPFES28B | Install light vehicle foam fire suppression systems |
| PRMPFES29B | Inspect, test and maintain pre-engineered powder fire suppression systems |
| PRMPFES30B | Inspect, test and maintain pre-engineered wet chemical fire suppression systems |
| PRMPFES31B | Inspect, test and maintain pre-engineered water mist fire suppression systems |
| PRMPFES34A | Install hinged fire and smoke doors |
| PRMPFES38A | Inspect and maintain portable fire monitors |
| PRMPFES40A | Install passive fire and smoke containment systems |
| PRMPFES41A | Install pre-engineered fixed plant fire suppression systems |
| PRMPFES42A | Install, inspect, test and maintain pre-engineered fire system for transportable equipment |
| PRMPFES44A | Interpret installation requirements for gaseous fire suppression systems |
| PRMPFES45A | Install gaseous agent containers and actuation devices |
| PRMPFES46A | Decommission gaseous agent containers and actuation devices |
| PRMPFES51A | Design gaseous fire suppression systems |
| PRMPFES52A | Prepare quotations for gaseous fire suppression system designs |
| Group B elective units |  |
| BSBFLM305C | Support operational plan |
| BSBFLM306C | Provide workplace information and resourcing plans |
| BSBFLM312B | Contribute to team effectiveness |
| PRMCMN403A | Facilitate effective teamwork |
| PRMCMN404A | Facilitate effective workplace relationships |
| PRMPFES17B | Contribute to the training and assessment needs of the team |
| HLTFA301B | Apply first aid |
| TAAASS401C | Plan and organise assessment |
| TAAASS402C | Assess competence |
| TAAASS404B | Participate in assessment validation |
| TAADEL301C | Provide training through instruction and demonstration of work skills |