# Assessment Requirements for PSPRAD005 Handle and transport radioactive material

Release: 1

Assessment Requirements for PSPRAD005 Handle and transport radioactive material

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in PSP Public Sector Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

applying transport documents relevant to job role

recognising radiation labels, placards and safety signs relevant to job role

completing carrier’s documentation accurately with close attention to detail

seeking advice or further directions when faced with unexpected situations that may require decisions or actions beyond own technical competence

using and caring for radiation monitoring equipment, if required in job role

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

guidelines for consignors, carriers and consignees defined in local regulations and relevant codes

radioactivity, radioactive material, ionising radiation, contamination, contamination controls, shielding, transport index, and safe distance

types and properties of ionising radiation

relevant dose limits

information on radiation labels, placards, emergency information sheets and safety signs and in transport documents relevant to job role

internal and external exposure pathways and protective measures

radiation health effects

layers of protection, including:

avoiding exposure, where practicable

isolating sources of radiation where practicable through shielding, containment and remote handling techniques

engineering controls

adopting safe work practices, including work methods which make appropriate use of time, distance and shielding to minimise exposure

using approved personal protective equipment (PPE) where other means of controlling exposure are not practicable

health, safety and workplace emergency response procedures, safe working rules, personal hygiene requirements and safe operating procedures for equipment relevant to job role

# Assessment Conditions

This unit contains no specific industry-mandated assessment conditions. Guidance on suggested and recommended conditions and methods can be found in the Implementation Guide.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=bebbece7-ff48-4d2c-8876-405679019623

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=bebbece7-ff48-4d2c-8876-405679019623

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=bebbece7-ff48-4d2c-8876-405679019623