# PSPTRAN405A Operate weighbridges

Revision Number: 3

PSPTRAN405A Operate weighbridges

# Modification History

| Release | TP Version | Comments |
| --- | --- | --- |
| 3 | PSP12V1 | Unit descriptor edited. |
| 2 | PSP04V4.2. | Layout adjusted. No changes to content. |
| 1 | PSP04V4.1 | Primary release. |

# Unit Descriptor

This unit covers the ability to conduct weighbridge operations in accordance with regulatory requirements and workplace procedures, including setting up for weighbridge operations, weighing loaded vehicles, weighing unloaded vehicles, measuring axles, finalising weighbridge operations, and completing required records and documentation.

No licensing, legislative, regulatory or certification requirements apply to this unit at the time of endorsement.

# Application of the Unit

This unit of competency applies to private weighbridge operators, public weighbridge operators and transport compliance officers who use weighbridges to determine the weight of vehicles and loads.

# Licensing/Regulatory Information

Not applicable.

# Pre-Requisites

Not applicable.

# Employability Skills Information

This unit contains employability skills.

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Validate weighbridge operations | 1.1. Weighbridge, computer and recording systems are checked for operational status. 1.2. Weighbridge accuracy is validated in accordance with relevant legislation, codes and regulations, organisational procedures and manufacturer instructions. 1.3. Inspection and testing records are maintained in accordance with statutory requirements, organisational policy and industry guidelines. 1.4. Faults and discrepancies in weighbridge operation are identified and corrective action initiated according to organisational procedures. 1.5. Environmental factors likely to affect weighing accuracy are identified and corrected. |
| 2. Weigh vehicles | 2.1. Vehicles likely to exceed weighbridge capacity and dimensions are directed away from weighbridge. 2.2. Weighbridge is correctly set to zero before commencing a weighing. 2.3. Vehicles are directed onto weighbridge platform and weight is determined in accordance with legislative requirements and organisational procedures. 2.4. Vehicle weight, vehicle registration and load description are entered into organisational recording system. 2.5. Areas of dispute are resolved or forwarded for further action according to organisational procedures. |
| 3. Conduct axle or end-and-end measurements | 3.1. Assess suitability of weighbridge and approach for axle or end-and-end measurements. 3.2. Axle or end-and-end measurements are completed in accordance with statutory requirements. |
| 4. Complete weighbridge operations | 4.1. Complete and issue weighbridge ticket in accordance with statutory requirements and organisational procedures. 4.2. Incomplete weighbridge tickets are cancelled in accordance with statutory requirements. 4.3. Weighbridge systems, including equipment, computer and recording arrangements, are secured and made ready for next shift. 4.4. Record of operations is maintained and filed according to workplace procedures and statutory requirements. |

# Required Skills and Knowledge

This section describes the skills and knowledge required for this unit.

Required skills

communication skills to communicate effectively with others when conducting weighbridge operations literacy skills to: read and interpret operational instructions, procedures and information relating to weighbridge operations complete documentation numeracy skills to undertake required measurements organisational and planning skills to: follow operational instructions and prioritise work set up and maintain weighbridge equipment identify, select and use weighbridge equipment monitor performance of weighbridge equipment technology skills to operate electronic communication equipment to required protocol teamwork skills to work collaboratively with others when conducting weighbridge operations interpersonal skills to adapt appropriately to cultural differences in the workplace, including modes of behaviour and interactions with others initiative and enterprise skills to apply precautions and required action to minimise, control or eliminate hazards that may exist during the conduct of weighbridge operations planning and organising skills to monitor work activities in terms of planned schedule problem-solving skills to: modify activities depending on differing operational contingencies, risk situations and environments operate and adapt to differences in equipment according to standard operating procedures promptly report or rectify identified problems, errors or malfunctions that may occur when conducting weighbridge operations self-management skills to: work systematically with required attention to detail without injury to self or others, or damage to goods or equipment select and use required personal protective equipment according to industry and OHS standards

Required knowledge

regulations relevant to the operation of weighbridges, including national measurement legislation relevant OHS and environmental protection procedures and guidelines workplace policies and procedures for weighbridge operations problems that may occur when conducting weighbridge operations and appropriate action that can be taken to resolve the problems equipment applications, capacities, configurations, safety hazards and control mechanisms records and documentation requirements for weighbridge operations classification procedures despatch procedures calculation method in both metric and imperial systems for determining net mass, and end-and-end and axle measurements of a vehicle correct weighing procedures, including statutory and workplace requirements emergency response procedures site layout procedures for completing axle or end-and-end measurements

# Evidence Guide

| The Evidence Guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package. |  |
| --- | --- |
| Overview of assessment | Competency must be demonstrated in the ability to consistently maintain and operate a weighbridge in accordance with legislative requirements. |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | Assessment must confirm the ability to: prepare a weighbridge for operation weigh loaded and unloaded vehicles determine the net weight from gross and tare measurements complete axle and end-and-end measurements complete statutory documents |
| Context of and specific resources for assessment | This unit of competency is to be assessed in the workplace or a simulated workplace environment. Access may be required to: weighbridge computer and relevant software and/or organisation information management system public weighbridge licence conditions national measurement legislation |
| Method of assessment | The following assessment methods are suggested: questions to assess understanding of relevant procedures, trader obligations and remedial actions review of weighbridge tickets prepared by the candidate feedback from supervisors and peers regarding the candidate's ability to conduct weighbridge operations in accordance with legislative and organisational procedures In all cases, practical assessment should be supported by questions to assess underpinning knowledge and those aspects of competency which are difficult to assess directly. Questioning techniques should suit the language and literacy levels of the candidate. |
| Guidance information for assessment | Industry representatives have provided case studies to illustrate the practical application of this unit of competency and to show its relevance in a workplace setting. These can be sourced from the National Measurement Institute. |

# Range Statement

| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |
| --- | --- |
| Operational status may include: | weighbridge indicator being on zero with no load on the platform platform being clean area under platform being clean and without accumulation of water or debris remote indicator, summing indicator and printer indications coinciding with primary indicator(s) |
| Relevant legislation, codes and regulations may include: | national measurement legislation relevant codes and regulations pertaining to weighbridge operations traffic Acts and road transport mass and loading regulations Australian Dangerous Goods (ADG) codes and regulations pertaining to storing and handling dangerous goods and hazardous materials relevant state or territory OHS legislation relevant state or territory environmental protection legislation relevant Australian and international standards and certification requirements workplace relations regulations, including anti-discrimination, equal employment opportunity and affirmative action legislation workers compensation regulations |
| Faults and discrepancies in weighbridge operation may include: | weighbridge cannot be zeroed with no load on the load receptor remote indicator, summing indicator or printing device continues to indicate a weight when the primary indicator is outside its weighing range indications varying, depending on where the vehicle is placed on the platform indications on the weighbridge not corresponding to another weighbridge in close proximity when weighing the same vehicle |
| Environmental factors likely to affect weighing accuracy may include: | wind, rain and snow debris from vehicles being deposited on the platform when moving onto the weighbridge application of vehicle brakes or air suspension when conducting axle and end-and-end measurements electrical or radio interference movement of external fixtures against weighbridge platform. |
| Vehicles may include: | trucks cars articulated road vehicles heavy machinery trailers wagons |
| Organisational procedures may include: | weighbridge operation manuals manufacturer specifications and instructions for the operation of weighbridge equipment Australian and international standards, criteria and certification requirements codes of practice, including the National Standards for Manual Handling and the industry safety code relevant regulations, including the ADG code OHS procedures quality assurance procedures |
| Areas of dispute may include: | overloaded vehicle over-dimension vehicle uncoupling trailers, etc. to complete weighing end-and-end measurements axle measurements refusal to issue a mass ticket when legislative requirements are not met |

# Unit Sector(s)

Not applicable.

# Competency field

Road Transport Compliance.