# Assessment Requirements for PUAECO007 Respond to and maintain monitored automatic notification system

Release: 1

Assessment Requirements for PUAECO007 Respond to and maintain monitored automatic notification system

# Modification History

Release 1. This is the first release of this unit of competency in the PUA Public Safety Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes

completing follow up activities liaising with scene about maintenance and testing activities recording and relaying information responding to alarm activation taking appropriate action including notifying organisations or agencies, personnel, building owners or occupiers and network providers including monitoring companies, organisations and/or agencies using databases working with alarm codes and protocols

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of

alarm codes and protocols follow up activities maintenance and test activities maintenance of alarm monitoring equipment organisational documents, policies, procedures and protocols remedial actions responses to alarm activations scene liaison requirements terminology and abbreviations types of alarm systems and their potential faults types of databases

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in industry approved simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, equipment, tools and personal protective clothing and equipment currently used in industry applicable documentation including organisational policies and procedures, industry standards, regulations, codes of practice, equipment specifications, operations and systems manuals.

# Links

PUA Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=3eca5672-6d5a-410b-8942-810d0ba05bbf