# Assessment Requirements for PUAFER002 Ensure facility emergency prevention procedures, systems and processes are implemented

Release: 1

Assessment Requirements for PUAFER002 Ensure facility emergency prevention procedures, systems and processes are implemented

# Modification History

Release 1. This is the first release of this unit of competency in the PUA Public Safety Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least one occasion and includes

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) facility requirements conducting facility emergency prevention inspections delegating tasks according to facility emergency prevention, safe work practices and level of responsibility ensuring facility emergency protection systems, emergency control equipment and evacuation systems remain effective identifying situations that could lead to facility emergencies monitoring and reviewing facility work area regularly to identify new and unsafe work practices recording and reporting unsafe conditions in a facility reporting on problems or deficiencies with facility emergency protection systems, emergency control equipment and evacuation systems

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of

basic types emergency prevention and protection systems and emergency control equipment facility emergency plan and response procedures facility procedures to identify and rectify problems organisational documentation including recording and reporting procedures organisational policies and procedures principles of operation that limit the functioning of emergency prevention and protection systems and emergency control equipment installed in a facility safety inspection processes Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in industry approved simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to a range of relevant activities, exercises, case studies and/or simulations that reflect the types of emergencies that may be expected in a facility relevant and appropriate materials, equipment, tools and personal protective clothing and equipment currently used in industry applicable documentation including organisational policies, facility emergency response procedures, facility emergency plan, emergency prevention inspection results, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

PUA Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=3eca5672-6d5a-410b-8942-810d0ba05bbf