# Assessment Requirements for PUAFER003 Manage and monitor facility emergency procedures, equipment and other resources

Release: 1

Assessment Requirements for PUAFER003 Manage and monitor facility emergency procedures, equipment and other resources

# Modification History

Release 1. This is the first release of this unit of competency in the PUA Public Safety Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes

analysing operational effectiveness of emergency control equipment applying legislation, industry standards, codes of practice and regulations applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements ensuring compliance of facility emergency response procedures, emergency control structures, equipment and other resources with the facility emergency plan establishing and maintaining facility emergency plans identifying hazards and controlling risks implementing compliance regime implementing maintenance auditing and fault finding procedures managing, recording and reporting emergency control equipment and faults monitoring emergency control structures including verifying results providing advice and guidance to the emergency management planning committee and emergency control organisation providing training in emergency response procedures, emergency control structures and equipment reporting emergency prevention problems and suggestions for correction utilising emergency prevention principles and solutions

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of

approved fire protection and other emergency systems located in a facility basic characteristics, use and limitations of facility emergency response procedures and emergency control equipment compliance requirements dynamic risk assessment emergency response procedures, emergency control structures and equipment training facility documentation including maintenance logs and records, legislation, industry standards, codes of practice and regulations facility emergency plan including role of emergency planning committee and emergency control organisation fault finding in equipment maintenance requirements of facility emergency control equipment and emergency plan and emergency response procedures operational effectiveness of emergency control equipment principles and practices of emergency prevention situations that could lead to facility emergencies verification processes and procedures Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in industry approved simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to a range of relevant activities, exercises, case studies and/or simulations relevant and appropriate materials, equipment, tools and personal protective clothing and equipment currently used in industry applicable documentation including organisational policies, facility emergency plan, facility emergency response procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

PUA Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=3eca5672-6d5a-410b-8942-810d0ba05bbf