# PUAFIR403 Assess building plans

Release: 1

PUAFIR403 Assess building plans

# Modification History

Release 1. This is the first release of this unit of competency in the PUA Public Safety Training Package.

# Application

This unit of competency involves the skills and knowledge required to interpret building plans and associated documentation for fire safety systems and to produce a report that meets organisational requirements. The unit applies to personnel who are authorised by their organisation to assess building plans, and their application at various sites and to ensure they comply with regulatory requirements. The fire sector is those sections of government departments, statutory authorities or organisations that have responsibility under jurisdictional arrangements for the delivery of firefighting and fire management services. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

It is essential that the prerequisite units listed below are obtained prior to the issuance of this unit to individuals within the fire sector or the units contributing to the attainment of a fire qualification. PUAFIR314 Utilise installed fire safety systems

# Competency Field

Fire

# Unit Sector

Fire

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Collect plans and documentation | 1.1 | Appropriate building plans and documentation to undertake assessment are obtained |
|  |  | 1.2 | Additional information, where required, is sourced |
| 2 | Assess building plans and associated documentation | 2.1 | Fire safety systems are identified on building plans and associated documentation |
|  |  | 2.2 | Building plans and documentation are checked, in accordance with organisational procedures and relevant codes, regulations and standards |
|  |  | 2.3 | Variations between building plans and actual locations of fire systems are assessed and recorded, in accordance with organisational procedures |
| 3 | Report on assessment of building plans and associated documentation | 3.1 | Variations to building plans and associated documentation are documented and reported |
|  |  | 3.2 | Recommendations arising from the assessment are documented and reported, in accordance with organisational procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide. |  |
| --- | --- |
| documentation to undertake the assessment must include two or more of the following | building certifiers and/or building surveyors documentation building plans fire safety engineer reports |

# Unit Mapping Information

This unit replaces and is equivalent to PUAFIR403B Assess building plans.

# Links

PUA Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=3eca5672-6d5a-410b-8942-810d0ba05bbf