# PUAFIR510 Inspect for legislative compliance

Release: 1

PUAFIR510 Inspect for legislative compliance

# Modification History

Release 1. This is the first release of this unit of competency in the PUA Public Safety Training Package.

# Application

This unit of competency involves the skills and knowledge required to detect legislative and/or regulatory non-compliance and breaches and/or risks to the public or the environment through routine and/or non-routine inspections. It includes determining the requirements for inspections, conducing inspections, determining appropriate actions to achieve legislative compliance and preparing reports to fire services and other appropriate authorities. The unit is applicable to personnel authorised by their organisation to inspect sites and/or areas for legislative non-compliance breaches within the organisation’s legislative provision. This may include assisting owners and/or occupiers to detect legislative non-compliance, responding to complaints from the public and acting to minimise risks to the public and/or the environment. The fire sector is those sections of government departments, statutory authorities or organisations that have responsibility under jurisdictional arrangements for the delivery of firefighting and fire management services. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Fire

# Unit Sector

Fire

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Determine requirements for inspection | 1.1 | Need for inspection is identified |
|  |  | 1.2 | Scope of inspection is determined, based on legislative provisions and organisational requirements |
|  |  | 1.3 | Power of entry is determined, in accordance with legislative provisions and organisational procedures |
| 2 | Conduct inspection | 2.1 | Designated areas to be inspected are identified and defined within scope of inspection |
|  |  | 2.2 | Inspection is conducted, in accordance with organisational policies and procedures and regulatory requirements |
|  |  | 2.3 | Non-compliance and possible breaches are detected and recorded, in accordance with organisational procedures, requirements and legislation |
| 3 | Determine appropriate action to achieve legislative compliance | 3.1 | Consultation is sought with relevant persons, in accordance with organisational procedures, to facilitate resolution of non-compliance |
|  |  | 3.2 | Options for action are identified that will enable compliance to be achieved |
|  |  | 3.3 | Corrective action plan to achieve compliance is developed as a result of consultation |
|  |  | 3.4 | Action is undertaken to achieve compliance |
| 4 | Prepare report | 4.1 | Inspection report is compiled and submitted |
|  |  | 4.2 | Details of offences or breaches are recorded and recommended actions are submitted to appropriate personnel, in accordance with organisational procedures |
|  |  | 4.3 | Infringement notices are initiated and processed, and offences are reported, in accordance with organisational procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide. |  |
| --- | --- |
| non-compliance and possible breaches must include two or more of the following | chemical spills and pollution maintenance of fire safety systems non-compliance with legislative requirements |
| options for action must include one or more of the following | cease using premises contacting other emergency services contacting relevant authorities contacting supervisor isolating site processing infringement notices in accordance with organisational requirements recommendations |
| reports must include one or more of the following | diary standard forms and/or written reports |

# Unit Mapping Information

This unit replaces and is equivalent to PUAFIR510B Inspect for legislative compliance.

# Links

PUA Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=3eca5672-6d5a-410b-8942-810d0ba05bbf