# PUAFIR517 Conduct an inspection of a performance based design building

Release: 1

PUAFIR517 Conduct an inspection of a performance based design building

# Modification History

Release 1. This is the first release of this unit of competency in the PUA Public Safety Training Package.

# Application

This unit of competency involves the skills and knowledge required to inspect fire safety systems in buildings containing performance based design solutions. The unit applies to personnel authorised by their organisation to undertake inspections of buildings to determine whether their fire safety systems comply with the requirements of performance based design. Personnel may be required to provide reports to various stakeholders including building surveyors or certifiers, business owners and/or fire services. The fire sector is those sections of government departments, statutory authorities or organisations that have responsibility under jurisdictional arrangements for the delivery of firefighting and fire management services. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

It is essential that the prerequisite units listed below are obtained prior to the issuance of this unit to individuals within the fire sector or the units contributing to the attainment of a fire qualification. PUAFIR403 Assess building plans PUAFIR507 Inspect building fire safety systems

# Competency Field

Fire

# Unit Sector

Fire

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Undertake an inspection of fire safety systems and check for compliance | 1.1 | All components of a building’s fire safety systems are identified, in accordance with approved performance based design reports, building plans, fire safety systems drawings and associated documentation |
|  |  | 1.2 | All components of the fire safety systems and their elements are compared with design requirements, industry standards, building regulations and codes of practice, in accordance with organisational procedures |
|  |  | 1.3 | Fire safety system performance and maintenance requirements are compared with design requirements industry standards, building regulations and codes of practice, in accordance with organisational procedures |
| 2 | Report on inspection of fire safety systems to appropriate authorities | 2.1 | Results of the inspection of fire safety systems’ performance are reported, in accordance with organisational procedures |
|  |  | 2.2 | Fire safety problems and issues relating to fire safety systems are identified and reported, in accordance with organisational procedures |
|  |  | 2.3 | The report is distributed, in accordance with organisational procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide. |  |
| --- | --- |
| fire safety systems must include | alternative fire suppression systems building control systems building design requirements emergency egress systems emergency vehicle access systems fire and emergency control centres and rooms fire detection and alarm systems fire hydrant and hydrant booster systems fire resisting elements and compartmentation fire sprinkler and sprinkler booster systems smoke hazard management and ancillary systems |
| performance based design must include | compartmentation fire engineering report requirements fire service capabilities fire service intervention fire suppression systems industry standards including international fire engineering guidelines and the National Construction Code (Building Code of Australia) occupant egress smoke hazard management arrangements type of construction and reduction in fire resistant levels |

# Unit Mapping Information

This unit replaces and is not equivalent to PUAFIR506B Conduct an assessment of a building’s performance based design.

# Links

PUA Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=3eca5672-6d5a-410b-8942-810d0ba05bbf